# CPCCBC4012 Read and interpret plans and specifications

Release: 2

CPCCBC4012 Read and interpret plans and specifications

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC4012B Read and interpret plans and specifications. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to read and interpret plans and specifications applicable to residential and commercial projects. It includes identifying site characteristics, features of the proposed building and details of the construction.

It applies to National Construction Code (NCC) classifications:

Residential - Class 1 and 10 buildings, maximum two storeys

Commercial - Class 2 to 9, Type C only constructions.

The unit of competency applies to site managers, forepersons, estimators, builders, managers and other building and construction industry personnel who read and interpret plans and specifications for quantity surveying, costing and tendering and construction of building and construction projects.

This unit is suitable for people with specialised knowledge, completing routine and non-routine tasks and using their own judgement to deal with predictable and sometimes unpredictable problems.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

Licensing, regulatory or registration requirements apply to this unit of competency in some jurisdictions. Relevant state and territory regulatory authorities should be consulted to confirm these requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Building and Construction

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify types of plans. | 1.1 | Confirm plans, specifications and amendments are the current version. |
|  |  | 1.2 | Identify types of plans and aspects of the drawings specific for the intended purpose. |
|  |  | 1.3 | Confirm details on plans comply with the specifications. |
| 2 | Read and interpret the plan. | 2.1 | Distinguish key features on the plans. |
|  |  | 2.2 | Identify building location from site plan. |
|  |  | 2.3 | Identify building layout, spaces and dimensions from floor plan. |
|  |  | 2.4 | Examine detail drawings to determine sizes, thickness and methods of construction. |
|  |  | 2.5 | Identify internal linings, external cladding and roof materials from plans and specifications. |
| 3 | Identify structural details. | 3.1 | Identify concrete footing and slab sizes and position and type of reinforcing. |
|  |  | 3.2 | Identify load bearing points of the building. |
|  |  | 3.3 | Identify wind bracing and tie-down requirements. |
| 4 | Identify non-structural details. | 4.1 | Identify provisional sum (PS) and prime cost (PC) items. |
|  |  | 4.2 | Locate installation and connection points of services to the building. |
|  |  | 4.3 | Identify location of fixtures from plans and details of finishes from specifications. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCCBC4012B Read and interpret plans and specifications

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad