# Assessment Requirements for CPCCBC4022 Supervise tilt-up work

Release: 3

Assessment Requirements for CPCCBC4022 Supervise tilt-up work

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Weight corrected in Performance Evidence. Formatting corrected in the Knowledge Evidence. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC4022A Supervise tilt-up work. Prior to final endorsement of this unit of competency, the Construction IRC changed the weight in the Performance Evidence of the in-situ tilt slab from at least 10 tonnes to at least 6 tonnes. This change occurred to provide more flexible assessment conditions to suit industry. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by demonstrating the supervision on at least one occasion of the erection of:

one multi-point pre-cast tilt slab or one cast in-situ tilt slab each of at least 6 tonnes.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

government building and construction legislation, standards and codes

National Standard for Construction Work and the Code of Practice for Construction Work

relevant tilt-up construction codes and standards including current versions of AS3850.1:2015 Prefabricated concrete elements Part 1: General requirements and National Code of Practice for Precast Tilt-Up and Concrete Elements in Building Construction

project plans, drawings and specifications for tilt-up work

processes, procedures and techniques for:

lifting and placing tilt-up panels

securing panels to base

levelling and plumbing panels

temporary bracing panels

grouting, bracing, torquing, stabilisation and fixing of panels

competency and licensing requirements to operate plant and equipment and carry out tilt-up panel work

capacity and limitations of plant, lifting gear and equipment used in tilt-up work

capacity and limitations of rigging and equipment

workplace safety:

hierarchy of control

hazard identification

emergency first aid

emergency shutdown and stopping

working at heights

fall arrest equipment

scaffolding

access equipment

electrical hazards

overhead hazards

confined spaces.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant government building and construction legislation

current relevant building and construction industry codes and standards

organisational policies, procedures and other quality documentation to undertake the performance criteria and assessment requirements

project plans and specifications

plant, equipment and qualified personnel necessary to supervise tilt-up work.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad