# Assessment Requirements for CPCCBC4029 Apply construction information to the sales process

Release: 2

Assessment Requirements for CPCCBC4029 Apply construction information to the sales process

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC4029B Apply construction information to the sales process. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by applying construction information to the sales process for one building and construction project.

In doing this, the candidate must:

provide accurate, timely and understandable information to the client

identify the nature of building approvals and their limitations, conditions and duration

explain circumstances that can contribute to delays and the impact of those delays on the building process

provide information of all builder’s insurances required for the duration of the building and construction project.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

building approvals and permits:

building licence

electricity supply permits

water service and sewerage connection

drainage and water disposal

Local Government Acts and building provisions

building construction process and sequence of events

industry conditions:

availability of labour and materials

provisions for inclement weather

subcontracting structure

insurance cover:

builder’s all risk

indemnity

public liability

workers’ compensation

site establishment requirements:

access and egress

drainage

earthworks

electricity supply

protection for adjoining owners

rubbish and waste disposal

signage

site facilities

water connection

building and construction standards and codes

digital tools and devices to communicate and collaborate effectively with others

a range of digitally-based technology and applications to access, extract integrate and compile information.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant building and construction standards and codes

building approvals and permits

construction drawings, site plans and specifications

construction contracts, organisational policies, procedures and other quality documentation to undertake the performance criteria and assessment requirements

a range of digitally-based technology and applications to compile, record and save information.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad