# Assessment Requirements for CPCCBC5003 Supervise the planning of on-site building and construction work

Release: 2

Assessment Requirements for CPCCBC5003 Supervise the planning of on-site building and construction work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC5003A Supervise the planning of on-site medium rise building or construction work. Change to title. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by supervising the planning of one on-site building and construction project for:

a Class 1 and 10 building, to a maximum of three storeys, or

a Class 2 to 9, Type B or C.

In doing this, the candidate must:

translate contract requirements into construction plans and processes

develop strategies that effectively maximise physical and human resource use

apply construction planning processes that effect desired outcomes and meet proposed timeframes

establish and maintain a workplace environment representative of good management practice.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

relevant government building and construction legislation, codes and standards for construction

building and construction industry contracts

building and construction industry subcontracting system:

organisational and subcontracted human resources

human resource principles and practices

subcontractor requirements and availability

relevant licensing arrangements

rates and costs related to payments and claims

on-site and off-site management practices, including:

on-site facilities

plant and equipment

power, water, telephone and other temporary services

pre-cut or pre-cast components

raw materials

temporary site facilities

construction planning process, including:

project scheduling

critical events and milestones

labour, materials and plant and equipment coordination

workplace safety requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Assessors are responsible for ensuring that the person demonstrating competency has access to:

relevant project plans, specifications, codes, standards and regulations for building class

organisational policies, procedures and other quality documentation to undertake the performance criteria and assessment requirements

technology and applications to access, extract, integrate and compile information

national and state industrial relations legislation.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad