# Assessment Requirements for CPCCBC5009 Identify services layout and connection methods for Type B and C constructions

Release: 2

Assessment Requirements for CPCCBC5009 Identify services layout and connection methods for Type B and C constructions

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC5009A Identify services layout and connection methods to medium rise construction projects. Change to title. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by determining, documenting and conveying layout and connection methods to a range of services appropriate to Type B and C constructions, which may be undertaken over several projects and must include:

water supply

sewerage and drainage disposal

mechanical ventilation and air distribution

hot water systems

natural and artificial lighting

fire protection

electrical and electronic.

In doing this, the candidate must:

apply design concepts and principles relating to performance of service installations

identify typical faults and problems and take remedial action

comply with the National Construction Code (NCC) and Australian standards.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

relevant government building legislation, codes and standards

the NCC

project drawings, details and specifications

organisational work practices and procedures

manufacturer specifications and installation instructions

properties, characteristics and limitations of specified materials, products and components

service installation terminology and definitions

water supply:

single and two-stage pumping for multi-function and single function

tank storage supply relative to the public water supply and reservoir heights

town supply

sewage connection and layout:

graded or vertical discharge pipes

inspection shafts and overflow relief gullies (ORGs)

local authority sewerage drainage system

septic or biochemical treatment unit

methods of mechanical ventilation:

air conditioning applications

air distribution, including mechanical ventilation requirements for enclosed car parks

air filtration, including air filters, ducting and main filter types

mechanical ventilation

hot water system:

area to be serviced

energy sources available

height of installation

number of outlets

type of occupancy

type of system

lighting:

emergency lighting

natural and artificial lighting

electronic cabling factors:

access for maintenance, repair and extension

categories of cabling:

data

lift controls

power supplies

telecommunications

layout of equipment:

computers

telephones

safe guards

type of service.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant state and territory building legislation codes and standards

the NCC

manufacturer’s specification and installation instructions

project plans, details and specifications

technology, equipment and applications to access, extract, integrate, compile and produce information and drawings necessary to identify services layout and methods of connection.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad