# CPCCBC5009 Identify services layout and connection methods for Type B and C constructions

Release: 2

CPCCBC5009 Identify services layout and connection methods for Type B and C constructions

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC5009A Identify services layout and connection methods to medium rise construction projects. Change to title. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to identify services requirements, layouts and connections from project drawings and specifications for Type B and C construction projects. It includes identifying and evaluating differing layouts for services to comply with building codes, regulations and standards.

This unit of competency applies to builders, project managers and related construction industry professionals responsible for determining services layouts using design concepts and principles relating to installations.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

Licensing, regulatory or registration requirements apply to this unit of competency in some jurisdictions. Relevant state and territory regulatory authorities should be consulted to confirm these requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Building and Construction

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate layout for water storage supply. | 1.1 | Sketch layout for residential water supply and connection from a town supply or tank storage to comply with relevant building regulations and standards. |
|  |  | 1.2 | Document single and two-stage pumping systems used to maintain water levels in storage tanks. |
|  |  | 1.3 | Identify and address limitations of multi-function and single function services connected to water storage tanks. |
| 2 | Evaluate layout and methods of sewerage and drainage disposal. | 2.1 | Sketch sewerage connection and layout in accordance with relevant building regulations and standards. |
|  |  | 2.2 | Assess number of fixtures and building type to determine stack type. |
|  |  | 2.3 | Identify fixture units. |
|  |  | 2.4 | Determine appropriate connection methods of main drains to local authority sewers against relevant building standards. |
|  |  | 2.5 | Assess disposal of sewerage from fixtures situated below the level of the local authority sewer. |
|  |  | 2.6 | Monitor collection, treatment and disposal of prohibited discharges for non-domestic buildings. |
| 3 | Assess layout of mechanical ventilation. | 3.1 | Identify and sketch methods of mechanical ventilation and air distribution. |
|  |  | 3.2 | Check mechanical ventilation and air distribution system design layout is appropriate to the building design and complementary to other services. |
| 4 | Evaluate the range of hot water systems. | 4.1 | Evaluate operating principles of various types of hot water systems. |
|  |  | 4.2 | Select suitable hot water system according to accepted and agreed requirements and specifications. |
| 5 | Evaluate lighting for a range of situations. | 5.1 | Identify roof construction used and outline methods for appropriate daylight transmission. |
|  |  | 5.2 | Compare various service situations with methods of artificial lighting used. |
| 6 | Determine compliance of fire protection. | 6.1 | Identify authorities involved in plan perusal and site inspection for the various building classifications. |
|  |  | 6.2 | Identify requirements for sprinkler systems and fire hoses for the various building classifications. |
|  |  | 6.3 | Address fire detector and alarm systems and the application of fire doors. |
|  |  | 6.4 | Identify extinguishing agents and their applications. |
| 7 | Plan installation of electrical and electronic services. | 7.1 | Identify electrical supply connection to site and comply with appropriate authority. |
|  |  | 7.2 | Implement electrical design and provision for services. |
|  |  | 7.3 | Identify and outline electronic cabling, type of service, categories of cabling, layout of equipment, safe guards, access for maintenance, repair and extensions. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

technology skills to:

use digital tools and devices to communicate and collaborate effectively with others

use equipment and programs to access and extract information and develop relevant documentation.

# Unit Mapping Information

Supersedes and is equivalent to CPCCBC5009A Identify services layout and connection methods to medium rise construction projects.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCBC5009 Identify services layout and connection methods for Type B and C constructions

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC5009A Identify services layout and connection methods to medium rise construction projects. Change to title. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by determining, documenting and conveying layout and connection methods to a range of services appropriate to Type B and C constructions, which may be undertaken over several projects and must include:

water supply

sewerage and drainage disposal

mechanical ventilation and air distribution

hot water systems

natural and artificial lighting

fire protection

electrical and electronic.

In doing this, the candidate must:

apply design concepts and principles relating to performance of service installations

identify typical faults and problems and take remedial action

comply with the National Construction Code (NCC) and Australian standards.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

relevant government building legislation, codes and standards

the NCC

project drawings, details and specifications

organisational work practices and procedures

manufacturer specifications and installation instructions

properties, characteristics and limitations of specified materials, products and components

service installation terminology and definitions

water supply:

single and two-stage pumping for multi-function and single function

tank storage supply relative to the public water supply and reservoir heights

town supply

sewage connection and layout:

graded or vertical discharge pipes

inspection shafts and overflow relief gullies (ORGs)

local authority sewerage drainage system

septic or biochemical treatment unit

methods of mechanical ventilation:

air conditioning applications

air distribution, including mechanical ventilation requirements for enclosed car parks

air filtration, including air filters, ducting and main filter types

mechanical ventilation

hot water system:

area to be serviced

energy sources available

height of installation

number of outlets

type of occupancy

type of system

lighting:

emergency lighting

natural and artificial lighting

electronic cabling factors:

access for maintenance, repair and extension

categories of cabling:

data

lift controls

power supplies

telecommunications

layout of equipment:

computers

telephones

safe guards

type of service.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant state and territory building legislation codes and standards

the NCC

manufacturer’s specification and installation instructions

project plans, details and specifications

technology, equipment and applications to access, extract, integrate, compile and produce information and drawings necessary to identify services layout and methods of connection.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad