# Assessment Requirements for CPCCBC5010 Manage construction work

Release: 2

Assessment Requirements for CPCCBC5010 Manage construction work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC5010B Manage construction work. Updated to meet the Standards for Training Packages 2012.. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by managing on-site construction work of one Class 1 to 10, maximum of three storeys, or a Class 2 to 9, Type B or C building project.

In doing this, the candidate must:

interpret project material specifications in design documentation and procure quality, compliant materials, products and components

manage at least one variation to the contract

manage project financials, with timely payments for completed work

manage on-site safety, personnel and resources to achieve project outcomes.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

work health and safety (WHS) Acts and regulation

on-site safety:

hierarchy of control

duty of care

hazardous manual handling

risk assessment

rehabilitation and return to work requirements

environmental management requirements and sustainability principles

construction methodologies:

planned methods of construction

construction constraints

risks and opportunities

temporary and permanent works and services

electrical cabling

plumbing and gas piping systems

temporary lighting and power outlets

wastewater disposal systems

fire suppression systems

government codes, standards and regulations

the National Construction Code (NCC)

Australian Business Licence and Information Service (ABLIS)

organisational quality management processes and procedures:

building and construction industry contracts

managing expenditure

communicating with regulatory authorities to ensure compliance with their requirements

allocation and management of human resources:

dispute resolution

selection and hiring physical resources:

relevant licensing arrangements

lifting equipment

on-site communication:

emails

face-to-face verbal communication

mobile and fixed telephone contact

site diaries

written reports and memoranda

properties, characteristics and limitations of approved materials:

concrete and pre-formed concrete

raw construction materials, such as sand, aggregate, timber and cement

sarking, insulation, air conditioning ducting and roofing

production of materials and prefabrication of products off site.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

current relevant building, industrial relations and consumer legislation

the NCC and other relevant codes and standards

project plans and schedules, construction drawings, site plans and specifications

organisational policies, procedures and other quality documentation to undertake the performance criteria and assessment requirements

business equipment and technology, applications and software to facilitate effective management of construction work.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad