# Assessment Requirements for CPCCBC6001 Apply building codes and standards to the construction process for large building projects

Release: 2

Assessment Requirements for CPCCBC6001 Apply building codes and standards to the construction process for large building projects

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC6001B Apply building codes and standards to the construction process for large building projects. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by applying building codes and standards to one building project over three storeys, with below ground construction to meet the requirements of the National Construction Code (NCC).

In doing this, the candidate must:

interpret and apply relevant General Requirements and Performance Requirements of the NCC to the building project

apply compliance options and determine Assessment Methods to verify and support compliance with the Performance Requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

government building and construction legislation

building standards and codes

the NCC:

building classification

Performance Requirements

Performance Solutions

Performance Hierarchy

Assessment Methods

evidence of suitability

Verification Methods

comparison with Deem-to-Satisfy provisions

Expert Judgement

working drawings and specifications

organisational quality assurance, policies, procedures and workplace safety requirements

definitions and technical building terms

design principles and the behaviour of structures under stress, strain, compression, bending or combined actions

properties, characteristics and limitations of building materials, products and components

below ground construction:

methods

structural sufficiency

water ingress

water proofing

work health and safety (WHS).

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

current and relevant government building Acts and regulations

design brief drawings, project plans, construction schedules and specifications

building and related industry codes, standards and manufacturer product information and materials specifications

the NCC

technology, applications and software systems for accessing, researching, extracting, analysing and presenting information, interpreting data and developing documents and reports.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad