# Assessment Requirements for CPCCBC6017 Evaluate services layout and connection methods for the planning of large building projects

Release: 2

Assessment Requirements for CPCCBC6017 Evaluate services layout and connection methods for the planning of large building projects

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC6017A Evaluate services layout and connection methods for the planning of large building projects. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by evaluating the layout of services and connection methods for the planning of one large building project.

In doing this, the candidate must:

establish the class of building and determine that layout and connection of services meet the requirements of the National Construction Code (NCC) and other relevant standards

identify any non-compliances, determine solutions and seek advice from relevant professional expertise to meet compliance.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

relevant government building and construction legislation

the NCC:

evidence of suitability

organisational quality assurance systems

design concepts and principles in relation to service installations

hot water system:

type of occupancy and area to be serviced

type of system

energy sources available

height of installation

general electrical and electronic service systems:

cabling and equipment layout for data, lift controls, power supplies and telecommunications

switchroom and substations for electrical supply and distribution

emergency lighting and exit signage systems

emergency warning and intercommunication systems

fire stopping

service systems safeguards

service systems access for maintenance, repair and extension

lighting system:

natural and artificial lighting

emergency and exit signage

terminology such as brightness, control of glare, installation of fire stopping, intensity, reflections, lifespan and locations for installation

sewerage connections:

local authority sewerage drainage system

septic or bio-chemical treatment unit

graded or vertical discharge pipes

inspection shafts and overflow relief gullies (ORGs)

stormwater:

design, installation and disposal

connection to local government water drains

use of soakage pits and on-site water detection systems

size, location and construction requirements for eaves and box gutters

downpipes and underground or concealed piping

water supply:

town supply

tank storage supply relative to public water supply and reservoir heights

single and two-stage pumping for multi-function and single function connected services

mechanical ventilation and air conditioning:

air conditioning applications

air distribution, including mechanical ventilation requirements for enclosed car parks

air filtration, including air filters, ducting and main filter types

air intake systems

fire dampers

fume discharge systems

installation of fire stopping

smoke control and exhaust systems

warm water and cooling towers

general services installation terminology, definitions and installation methods

nature of materials and effect of performance

processes for the interpretation of working drawings and specifications

construction terminology relating to services installation

research methods

processes for the preparation of documentation

workplace safety requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant government building legislation codes and standards

the NCC

environmental and sustainability requirements

manufacturer specifications and installation instructions

project plans, working drawings and specifications

business equipment and technology, applications and software to facilitate effective evaluation of services layout and connection methods.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad