# CPCCBC6017 Evaluate services layout and connection methods for the planning of large building projects

Release: 2

CPCCBC6017 Evaluate services layout and connection methods for the planning of large building projects

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC6017A Evaluate services layout and connection methods for the planning of large building projects. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to evaluate the layout of services and connection methods in large, high-rise and complex buildings that comply with government building requirements and the National Construction Code (NCC). It includes cold and hot water supply, sewerage layout, electric and electronic installation, mechanical ventilation and air conditioning, smoke alarms and fire preventative systems.

This unit of competency applies to builders and other related construction industry professionals and senior managers who determine and manage services installation and connection and resolve issues relating to the planning of services layout and solving related problems.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Building and Construction

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate layout of water supply for general and firefighting use. | 1.1 | Identify, evaluate and record specified water supply layout and connection in project plans and specifications. |
|  |  | 1.2 | Check water connection approvals and determine layout meets NCC performance requirements. |
|  |  | 1.3 | Record installation of water services supplying fire hydrants, fire hose reels and fire sprinkler systems. |
|  |  | 1.4 | Evaluate results of interconnected and non-return water tanks for fire services. |
|  |  | 1.5 | Confirm plumbing systems for general water supply is detailed and compliant with the NCC. |
| 2 | Evaluate layout of sewerage and drainage disposal methods. | 2.1 | Check approval documentation from the sewerage and drainage authority for any conditions related to the project. |
|  |  | 2.2 | Identify and evaluate planned sewerage layout and connect for compliance with NCC and authority requirements. |
|  |  | 2.3 | Identify, evaluate and record connection methods of main drains to local authority sewers across open ground and within buildings for the whole site. |
|  |  | 2.4 | Evaluate local authority requirements for disposal of sewerage from fixtures situated below the level of local authority sewer mains. |
|  |  | 2.5 | Evaluate and document the design and installation of stormwater drainage systems. |
|  |  | 2.6 | Evaluate and document methods for disposal of stormwater drainage systems. |
| 3 | Evaluate mechanical services and ventilation layout and connection. | 3.1 | Establish mechanical ventilation control methods and use correct terminology to state how ventilation, volume, velocity and content is controlled. |
|  |  | 3.2 | Identify, evaluate and record methods of air distribution and smoke hazard management and ensure compliance with the NCC. |
|  |  | 3.3 | Identify, evaluate and record functions, application and basic elements of air conditioning and mechanical ventilation for various occupancy types in buildings. |
| 4 | Select hot water systems. | 4.1 | Identify and evaluate design factors, height of installation, area to be serviced, number of outlets and energy sources available to select appropriate hot water system. |
|  |  | 4.2 | Evaluate and document operating principles of various types of hot water systems. |
|  |  | 4.3 | Evaluate layout and connection for selected hot water system. |
| 5 | Evaluate natural and artificial lighting. | 5.1 | Determine the intent of natural lighting and aim of design from plans and specifications. |
|  |  | 5.2 | Identify luminance requirements and compare artificial lighting types and sources for various service situations to meet relevant codes and standards. |
|  |  | 5.3 | Evaluate layout and connection methods for lighting systems from plans and specifications. |
| 6 | Evaluate firefighting and fire detection systems. | 6.1 | Identify building classification and relevant authorities responsible for fire safety regulations and inspection. |
|  |  | 6.2 | Identify and evaluate requirements for sprinkler systems, fire hydrants and fire hoses for compliance with the building classifications and codes. |
|  |  | 6.3 | Identify and evaluate fire detection and alarm systems for compliance with the building classification and codes. |
|  |  | 6.4 | Evaluate layout and connection of fire detection and firefighting systems. |
| 7 | Determine requirements for general electrical and electronic service installation. | 7.1 | Identify electrical design and requirements for service connection from electrical supply authorities. |
|  |  | 7.2 | Evaluate layout and connection for general electrical supply and electronic services. |
|  |  | 7.3 | Identify design and evaluate layout and connection of emergency warning systems, emergency lighting and exit signage systems. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

writing skills to:

articulate evaluations and apply organisational and industry protocols in the preparation and provision of reports to appropriate bodies or individuals

document evaluations, methods and requirements.

technology skills to:

use digital tools and devices to communicate and collaborate effectively with others

use equipment and programs to access, extract and record information and develop relevant documentation.

# Unit Mapping Information

Supersedes and is equivalent to CPCCBC6017A Evaluate services layout and connection methods for the planning of large building projects.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCBC6017 Evaluate services layout and connection methods for the planning of large building projects

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC6017A Evaluate services layout and connection methods for the planning of large building projects. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by evaluating the layout of services and connection methods for the planning of one large building project.

In doing this, the candidate must:

establish the class of building and determine that layout and connection of services meet the requirements of the National Construction Code (NCC) and other relevant standards

identify any non-compliances, determine solutions and seek advice from relevant professional expertise to meet compliance.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

relevant government building and construction legislation

the NCC:

evidence of suitability

organisational quality assurance systems

design concepts and principles in relation to service installations

hot water system:

type of occupancy and area to be serviced

type of system

energy sources available

height of installation

general electrical and electronic service systems:

cabling and equipment layout for data, lift controls, power supplies and telecommunications

switchroom and substations for electrical supply and distribution

emergency lighting and exit signage systems

emergency warning and intercommunication systems

fire stopping

service systems safeguards

service systems access for maintenance, repair and extension

lighting system:

natural and artificial lighting

emergency and exit signage

terminology such as brightness, control of glare, installation of fire stopping, intensity, reflections, lifespan and locations for installation

sewerage connections:

local authority sewerage drainage system

septic or bio-chemical treatment unit

graded or vertical discharge pipes

inspection shafts and overflow relief gullies (ORGs)

stormwater:

design, installation and disposal

connection to local government water drains

use of soakage pits and on-site water detection systems

size, location and construction requirements for eaves and box gutters

downpipes and underground or concealed piping

water supply:

town supply

tank storage supply relative to public water supply and reservoir heights

single and two-stage pumping for multi-function and single function connected services

mechanical ventilation and air conditioning:

air conditioning applications

air distribution, including mechanical ventilation requirements for enclosed car parks

air filtration, including air filters, ducting and main filter types

air intake systems

fire dampers

fume discharge systems

installation of fire stopping

smoke control and exhaust systems

warm water and cooling towers

general services installation terminology, definitions and installation methods

nature of materials and effect of performance

processes for the interpretation of working drawings and specifications

construction terminology relating to services installation

research methods

processes for the preparation of documentation

workplace safety requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant government building legislation codes and standards

the NCC

environmental and sustainability requirements

manufacturer specifications and installation instructions

project plans, working drawings and specifications

business equipment and technology, applications and software to facilitate effective evaluation of services layout and connection methods.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad