# Assessment Requirements for CPCCBL2002 Use bricklaying and blocklaying tools and equipment

Release: 2

Assessment Requirements for CPCCBL2002 Use bricklaying and blocklaying tools and equipment

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL2002A Use bricklaying and blocklaying tools and equipment. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by assisting in at least one bricklaying or blocklaying project.

In doing this, the candidate must:

conduct a pre-operation check on equipment

set up and safely use the following tools and equipment:

wheelbarrow

hand brick grab to load the job

cement mixer to mix consistent mortar for the project

wet cut brick saw to cut bricks and blocks accurately to varying sizes and shapes

hand and power assisted tools and equipment appropriate for the project

use hand tools to achieve three different joint finishes

wear appropriate personal protective equipment:

hearing protection

mask or appropriate respirator for the cutting task/s.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

terminology relating to bricklaying and blocklaying tools and equipment

basic construction terminology

features and purpose of plans and specifications

manufacturer’s specifications and instructions for tools and equipment:

safety requirements during operation

location and purpose of parts

uses and limitations

cleanliness and maintenance

troubleshooting problems

functional and operational features of plant, equipment and hand and power tools:

wheel barrow

spirit, pocket and water level

automatic and laser level

trowels and jointing tools

corner blocks and string lines

tingle plate

profiles and straight edges

bolster chisels

mash hammer/lump hammer

builder square and sliding bevels

power drills

battery operated tools

pallet trolleys

materials hoist

brick buggies

elevators

small petrol or diesel engines, compressors or mixers

forklifts

the characteristics and application of specified materials for bricklaying and blocklaying

processes and techniques for:

manual handling

mechanical handling

workplace safety:

job safety and environmental analysis (JSEA)

electrical safety

noise reduction

dust suppression

working at heights

exposure to silica

exposure to loud noise

environmental requirements relating to workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad