# Assessment Requirements for CPCCBL3002 Carry out masonry veneer construction

Release: 2

Assessment Requirements for CPCCBL3002 Carry out masonry veneer construction

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3002A Carry out masonry veneer construction. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by constructing a minimum of 2.1 m long and 2.0 m high section of a masonry veneer building.

In doing this, the candidate must:

install weepholes, damp proof course; frame ties, lintels and loadbearing components, window and door frame, roof tie-downs and spread of fire requirements.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of specified materials for masonry veneer construction:

aggregates, cement and lime

mortar ingredients and consistency

clay and masonry bricks

construction terminology relating to masonry veneer construction

processes and techniques for masonry veneer construction:

incorporating suspended floor

on concrete slab on ground

vermin control and anti-termite measures

damp-proofing, flashing and ventilation

fire control and separation requirements

frame tying components

lintels and load bearing components

timber, steel and aluminium windows

timber and steel door frames

gable and eaves construction

brick bond patterns

brick and block expansion and growth, control and articulation joints

functional and operational features of plant, equipment and hand and power tools:

battery operated tools

workplace safety:

job safety and environmental analysis (JSEA)

work at heights

exposure to silica dust

exposure to loud noise

requirements to erect and dismantle restricted height scaffolds

acceptable brickwork tolerances stated in Australian Standards and building codes

fire resistance and stability

key requirements of National Construction Code (NCC) relating to masonry veneer construction

features of working drawing and specifications

environmental requirements relating to workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad