# Assessment Requirements for CPCCBL3003 Carry out cavity brick construction

Release: 2

Assessment Requirements for CPCCBL3003 Carry out cavity brick construction

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3003A Carry out cavity brick construction. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by constructing a 2.1 m long x 2.0 m high cavity brick wall which incorporates an internal and external corner.

In doing this, the candidate must:

install damp proof course and ventilation

install brick cavity wall ties, door jamb and window frame

install lintels, loadbearing components and roof tie-downs

construct parapets and install step flashing

comply with relevant cavity brick standards and codes.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

construction terminology relating to cavity brick construction

characteristics, applications and limitations of specified materials for cavity brick construction:

clay bricks

aggregates, cement and lime

mortar ingredients and consistency

processes and techniques for:

suspended floor construction

construction of cavity brick on slab construction

anti-termite measures

damp-proofing, flashing and ventilation

installing lintels and load bearing components

installing windows and doors

gable and eaves construction

level flashing for parapets

tie down methods and applications

closing of cavities and capping systems

fire control and separation requirements

brick and block expansion and growth and control and articulation joints

brick bond patterns

functional and operational features of plant, equipment and hand and power tools:

battery operated tools

workplace safety:

job safety and environmental analysis (JSEA)

exposure to silica dust

exposure to loud noise

hazardous manual tasks

erecting and dismantling of scaffolds

allowable brickwork tolerances stated in current and relevant Australian Standards and building codes

fire control and separation codes and legislation

key requirements of the National Construction Code (NCC) relevant to cavity brick construction

features of working drawings and specifications

environmental requirements for workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad