# Assessment Requirements for CPCCBL3005 Lay masonry walls and corners

Release: 2

Assessment Requirements for CPCCBL3005 Lay masonry walls and corners

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3005A Lay masonry walls and corners. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by building one brick and one block wall to a minimum length of 2.3 m and a minimum height of 850 mm.

In doing this, the candidate must:

construct both walls between a profile at one end and a hand built corner at the other

incorporate an external and internal corner and a stopped end to both walls

comply with allowable tolerances in Australian Standards and building codes for construction of both walls

comply to the brickwork tolerances stated in the current Australian Standards and codes.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

construction terminology relating to masonry wall and corner construction

structural principles of loadbearing masonry walls

building and construction regulations, codes and standards

key features of National Construction Code (NCC) relating to laying masonry walls and corners

brick and block expansion and growth, control and articulation joints

characteristics, applications and limitations of specified materials for masonry wall and corner construction:

ingredients and additives to produce consistent mortar (M code)

acid for cleaning masonry work

functional and operational features of plant, equipment and hand and power tools:

battery operated tools

workplace safety:

hierarchy of control

working at heights

hazardous manual tasks

exposure to silica

exposure to loud noise

features of working drawings and specifications

fire control and separation codes and legislation

processes and techniques for laying masonry walls and corners

environmental requirements for workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad