# Assessment Requirements for CPCCBL3009 Install flashings and damp proof course

Release: 3

Assessment Requirements for CPCCBL3009 Install flashings and damp proof course

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3009A Install flashings and damp proof course. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by installing moisture barriers and fixing flashings to masonry construction to provide moisture movement and ensure the effective diversion of collected moisture.

In doing this, the candidate must:

install damp proof course (DPC) in a cavity brick or masonry veneer construction, which includes internal and external corners

install window and door head and stile flashings to a cavity brick or masonry veneer construction

install stepped and tray flashing to a masonry wall at roof abutment or to a chimney at the roof line

install flashing to a masonry parapet

comply with flashing and damp proof course standards, codes and manufacturer’s specifications.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of specified materials used for flashing and damp proofing:

aluminium sheeting

copper

bituminous sheeting

emulsions

lead and polyurethane sheeting

polythene sheeting

processes and techniques for:

damp-proofing to provide a barrier to moisture movement

flashing to divert the travel of moisture

stepped and level flashing for parapets and gables

dressing, fitting and building in various flashings

construction terminology relating to flashing and damp proofing

functional and operational features of plant, equipment and hand and power tools:

battery operated tools

workplace safety:

working at heights

exposure to silica

exposure to loud noise

hazardous manual handling

hazardous materials

current and relevant standards and building codes relating to flashings and DPC

key requirements of the National Construction Code (NCC) relevant to installation of flashings and damp proof course

features of working drawings and specifications

environmental requirements for workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad