# Assessment Requirements for CPCCBL3011 Construct curved walls

Release: 4

Assessment Requirements for CPCCBL3011 Construct curved walls

# Modification History

| Release 4 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.3. Performance Criteria 3.6 updated. Changes to Performance Evidence. |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3011A Construct curved walls. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by setting out and laying two curved masonry walls to height of 600 mm.

In doing this, the candidate must:

construct one serpentine masonry wall to a minimum length of 4.0 m using the plotted points or template method and finished with appropriate capping

construct one curved masonry wall with a minimum rise of 290 mm and radius of 2.4 m using the trammel technique

comply with brickwork tolerances stated in the current Australian Standards.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of materials used for curved wall construction

processes and techniques for:

calculating and setting out various size curves

curved wall construction

using measurements and formulas to calculate quantities

facets generated by curved walls

aspects and factors relating to curved walls

construction terminology relating to curved wall construction

wall types, movement of joints and bonding patterns

functional and operational features of plant, equipment, hand and power tools

workplace safety:

job safety and environmental analysis (JSEA)

hazardous manual handling

exposure to silica

exposure to loud noise

current and relevant Australian Standards relating to constructing curved walls

key requirements of the National Construction Code (NCC) for constructing curved walls

features of working drawings and specifications

environmental and waste management requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad