# CPCCBL3011 Construct curved walls

Release: 4

CPCCBL3011 Construct curved walls

# Modification History

| Release 4 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.3. Performance Criteria 3.6 updated. Changes to Performance Evidence. |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3011A Construct curved walls. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to construct masonry curved walls. It includes using geometry to calculate and set out curves.

This unit applies to bricklayers and blocklayers working on new and existing structures. It is suitable for people operating with some autonomy. A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without needing close supervision.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry

# Unit Sector

Bricklaying and Blocklaying

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Select, fit correctly and use personal protective equipment (PPE) appropriate for job. |
|  |  | 1.2 | Read, interpret and apply curved wall construction requirements from current plans, specifications, standards and codes. |
|  |  | 1.3 | Follow requirements in workplace safety and environmental documentation and workplace procedures. |
|  |  | 1.4 | Calculate material quantities required for the task. |
|  |  | 1.5 | Determine job priorities and sequence job tasks in consultation with others on site. |
|  |  | 1.6 | Identify potential hazards and determine and implement control measures. |
|  |  | 1.7 | Select and check condition of plant, equipment and tools and report damage or faults. |
|  |  | 1.8 | Check conformity of materials against the specifications and place materials in preparation for the work. |
| 2 | Set out and lay curved wall. | 2.1 | Identify wall shape from job drawings and calculate curve using geometry. |
|  |  | 2.2 | Locate and set out curved wall using a trammel. |
|  |  | 2.3 | Set out wall length and height maintaining brickwork gauge and bond. |
|  |  | 2.4 | Mix mortar quality and consistency to job specifications. |
|  |  | 2.5 | Lay first course level and in line with curve set out. |
|  |  | 2.6 | Lay wall maintaining gauge, bond and alignment with vertical face maintaining a constant ‘V’ shape perpend joint. |
|  |  | 2.7 | Remove excess mortar and rake or rule joints to specified profile and depth. |
|  |  | 2.8 | Brush down face brickwork prior to mortar drying. |
| 3 | Set out and lay serpentine wall. | 3.1 | Identify wall shape from job drawings and calculate curves using geometry. |
|  |  | 3.2 | Locate and set out serpentine wall curves using trammel heads and trammel arm. |
|  |  | 3.3 | Set out length and height of wall maintaining brickwork gauge and bond. |
|  |  | 3.4 | Mark and cut required bricks to maintain equal perpend joints. |
|  |  | 3.5 | Lay bricks to curve set out maintaining bond, gauge and alignment with vertical face. |
|  |  | 3.6 | Remove excess mortar and finish jointing to meet the current Australian Standards. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials following workplace and environmental requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report damage or faults. |
|  |  | 4.3 | Store and secure tools and equipment following workplace procedures. |

# Foundation Skills

Candidates require:

numeracy skills to:

calculate various curves using geometry

technology skills to:

use digital tools and devices to source job information and communicate effectively with others.

# Unit Mapping Information

Supersedes and is equivalent to CPCCBL3011A Construct curved walls

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad