# Assessment Requirements for CPCCBL3012 Construct fireplaces and chimneys

Release: 2

Assessment Requirements for CPCCBL3012 Construct fireplaces and chimneys

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3012A Construct fireplaces and chimneys. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by constructing a fireplace and chimney for a single storey building.

In doing this, the candidate must:

install chimney flashing

install weather proof chimney capping

comply with fireplace and chimney standards and codes.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

terminology relating to fireplace and chimney construction

current and relevant standards and building codes:

minimum and maximum dimensions for components

allowable tolerances

flashing requirements

key requirements of the National Construction Code (NCC) relevant to fireplaces and chimneys

characteristics, applications and limitations of specified materials and products for fireplace and chimney construction:

mortar specifications (M code)

parging ingredients

refractory bricks

processes and techniques for fireplace and chimney construction:

brick bond patterns

roof flashing and weathering

working drawing and specifications

functional and operational features of plant, equipment and hand and power tools:

power assisted tools

workplace safety:

erecting and dismantling work platforms

working at heights

job safety and environmental analysis (JSEA)

exposure to silica

exposure to loud noise

environmental requirements for workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad