# Assessment Requirements for CPCCBL3013 Construct masonry structural systems

Release: 3

Assessment Requirements for CPCCBL3013 Construct masonry structural systems

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.3. Change to Performance Criteria 4.1. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3013A Construct masonry structural systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by constructing a 2.1 m long x 2.0 m high load bearing block wall with one 390 mm x 390 mm engaged pier.

In doing this, the candidate must:

install wall tie down and lateral reinforcing support system

install a door jamb and bond beam lintel

secure tie down for roof structures

clean core in preparation for core filling

comply with current masonry structural systems standards and codes.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, application and limitation of approved materials for structural wall construction:

mortar ingredients and consistency

steel reinforcing and steel ties

processes and techniques for structural wall construction:

methods of engaging piers

fixing of horizontal and vertical reinforcing

installing roof tie down systems

construction terminology relating to structural wall construction

brick and block expansion and growth, control and articulation joints

functional and operational features of plant, equipment, hand and power tools

workplace safety:

job safety and environmental analysis (JSEA)

working at heights

exposure to silica

exposure to loud noise

fire control and separation requirements

key requirements of the National Construction Code (NCC) relevant to masonry structural systems

features of working drawings and specification

environmental requirements for workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad