# Assessment Requirements for CPCCBL3014 Install fire-rated masonry construction

Release: 2

Assessment Requirements for CPCCBL3014 Install fire-rated masonry construction

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBL3014A Install fire-rated masonry construction. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by constructing a 2.1 m long x 2.0 m high fire-resistant masonry wall.

In doing this, the candidate must:

install a fire-rated steel door jamb

fire-proof two service penetrations of various sizes

fit fire-rated insulation between brick wall and roof covering

comply with fire control and separation requirements of National Construction Code (NCC) and other standards and legislation.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of materials used in fire-rated masonry construction:

mortar ingredients

fire-resistant masonry blocks and bricks

fire seals and insulation

principles of heat and effects on materials

fire control and separation required by the NCC and other legislation:

fire resistant levels (FRL) of materials used in fire-rated masonry requirements

processes and techniques for:

installing fire-rated masonry

damp proofing and flashing

installing fire-rated steel door jambs

fitting continuous fire-rated seal between structure and roof cladding

construction terminology relating to fire-rated masonry construction

functional and operational features of plant, equipment, hand and power tools

workplace safety:

job safety and environmental analysis (JSEA)

work at heights

hazardous manual handling

exposure to silica

exposure to loud noise

acceptable brickwork tolerances stated in Australian Standards and building codes

features of working drawings and specifications

environmental requirements for workplace processes and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad