# Assessment Requirements for CPCCBS6015 Conduct and report on advanced and final inspections of commercial buildings up to three storeys

Release: 2

Assessment Requirements for CPCCBS6015 Conduct and report on advanced and final inspections of commercial buildings up to three storeys

# Modification History

| Release | Comments |
| --- | --- |
| 1.1 | Replaces superseded equivalent CPCCBS6015 Conduct and report on advanced and final inspections of commercial buildings up to three storeys. This version first released with CPC Construction, Plumbing and Services Training Package Version 1.1 |
| 1 | New unit of competency. This version first released with CPC Construction, Plumbing and Services Training Package Version 1. |

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit. The person must prepare for, conduct and complete relevant documentation for inspections for the following three different projects at the later stages of construction, including those specified in the building approval documentation for the project and the final inspection required prior to the issuing of occupancy permission. The projects must involve the following class buildings as defined in the Building Code of Australia (BCA), where:

one project must incorporate classes 2, 5, 6 and 7a

one project must incorporate classes 3 or 9c

one project must incorporate classes 7b and 8.

In doing the above, the person must:

identify and interpret relevant compliance requirements

conduct at least two interim inspections and three final inspections for each of the projects outlined above

observe and document non-compliant features of site preparation, foundations and footings, and structural elements

discuss non-compliance with relevant contractors and negotiate remedial work required

reschedule inspections as required

prepare and process required documentation, including:

details of non-compliance and remedial work recommended

contractor’s failure to comply with recommended remedial work, if required

missed inspection, if required

certificate of compliance, as authorised.

# Knowledge Evidence

A person demonstrating competency in this unit must demonstrate knowledge of:

BCA classification and definitions for buildings included in classes 2 to 9

construction methods and materials suitable for buildings included in classes 2 to 9

drawing symbols, notations, acronyms and construction terminology used in the National Construction Code (NCC), Australian standards, working drawings, building design specifications, and building permit documentation

range of, and variations in, compliance requirements for buildings included in classes 2 to 9 in different climatic, geographic and planning zones, including:

building control legislation and regulations

NCC

Australian standards referenced by building control legislation and regulations and the NCC

state, territory or local authority development policies

legislative and regulatory requirements for critical stage inspections relating to buildings included in classes 2 to 9.

# Assessment Conditions

Suitable assessment of performance requires:

equipment:

computer with internet access and business software currently in use in building surveying practices

materials:

tools and equipment for conducting inspections, including personal protective equipment (PPE)

physical conditions:

access to the projects specified in the performance evidence in advanced and final construction stages

specifications:

access to relevant and current building control legislation, regulations, codes and standards and state, territory or local authority planning policies.

### Assessor requirements

Assessors must satisfy the assessor requirements in the Standards for Registered Training Organisations (RTOs) current at the time of assessment.

In addition, assessors must also demonstrate current membership of a relevant industry association and have current registration on the National Building Professionals Register in the Building Industry Control category (level 1) or be accredited under the Australian Institute of Building Surveyors (AIBS) National Accreditation Scheme at Building Surveyor level.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad