# Assessment Requirements for CPCCBS6101 Research and evaluate construction methods and materials for Class 1 and 10 buildings to three store

Release: 1

Assessment Requirements for CPCCBS6101 Research and evaluate construction methods and materials for Class 1 and 10 buildings to three store

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.0. Supersedes and is equivalent to CPCCBS6001 Research and evaluate construction methods and materials for residential buildings to three storeys. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by researching and evaluating construction methods and materials to support building surveying services for three different buildings of less than 2,000 square metres in floor area, involving the following Classes as defined by the National Construction Code (NCC):

two buildings in Class 1, each with three storeys

one building in Class 1 and less than three storeys, or in Class 10.

Each building must be in a different geographical location/area selected from the following:

high wind area

highly corrosive area (within 1 kilometre of the ocean)

bushfire-prone area

cyclone area

earthquake area

alpine area

metropolitan area.

For each building, the candidate must evaluate:

construction methods and materials in relation to different geographical locations and climatic conditions and note strengths and weaknesses of each context

the application of different construction methods to:

foundations and footings

structural and supporting systems

enclosing systems

fire safety

health and amenity

safe movement and access

energy efficiency

construction processes in relation to trade sequencing

the application of different construction materials to:

foundations and footings

structural and supporting systems

enclosing systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

characteristics and applications of materials suitable for structural elements and building envelope of Class 1 and 10 buildings:

construction materials in common use:

adhesives and sealants

admixtures

clay products

concrete and concrete products

glass

masonry

metal

mortar for load bearing walls

plaster and plasterboard

plastic

pre-stressed structural concrete components

protective and fire-rated protective coatings

timber and timber products

waterproofing

suitability of construction materials for different applications:

behaviour under stress

compatibility with other materials in use

cost-effectiveness

durability

energy efficiency

environmental impact

fire resistance

standards

structural suitability

sustainability

visual characteristics

compliance requirements of construction materials and methods for Class 1 and 10 buildings in different geographic locations and climate zones:

NCC

Australian Standards referenced by the NCC

components and systems for services associated with Class 1 and 10 buildings:

compliance requirements

installation methods

different construction methods and systems for Class 1 and 10 buildings applicable to:

methods for site investigation and preparation:

principles and practices of site establishment: drainage, earthworks and pest risk management

soil investigation, assessment and clarification

structural and supporting systems:

masonry systems: earthwall construction, reinforced and unreinforced masonry and weatherproofing

systems for floors, roofs, sub-floor ventilation and walls

enclosing systems:

glazing

gutters and downpipes

roof and wall cladding

fire safety:

clearances and protection from heating appliances

fire separation

requirements for bushfire areas

smoke alarms

health and amenity:

facilities

light

room heights

sound insulation

ventilation

wet areas

safe movement and access:

balustrades

stair construction

swimming pool access

energy efficiency:

air movement

building fabric

building sealing and insulation

external glazing

services

information management procedures to maintain data currency, and classify and store information for easy retrieval

NCC classifications and definitions for Class 1 and 10 buildings

structural engineering principles sufficient to interpret and apply NCC requirements to work activities

types and sources of reliable information on traditional, new and emerging uses of construction materials and methods.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessors must also:

be licensed as a Building Surveyor Level 1 (or equivalent) or Level 2 (or equivalent) in their state or territory, or

demonstrate current membership of a relevant industry association and have current registration on the National Building Professionals Register in the Building Industry Control category (level 1), or

be accredited under the Australian Institute of Building Surveyors (AIBS) National Accreditation Scheme at Building Surveyor level or be accredited by the Royal Institute of Chartered Surveyors as a building certifier.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to equipment, software, documentation and materials required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad