# Assessment Requirements for CPCCBS6115 Conduct and report on advanced and final inspections of Class 2 to 9 buildings to three storeys

Release: 1

Assessment Requirements for CPCCBS6115 Conduct and report on advanced and final inspections of Class 2 to 9 buildings to three storeys

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.0. Supersedes and is not equivalent to CPCCBS6015 Conduct and report on advanced and final inspections of commercial buildings up to three storeys. New prerequisite requirement. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by conducting and reporting on advanced and final inspections for three projects involving the following Classes of buildings as defined by the National Construction Code (NCC):

one project incorporating Class 5 or Class 6

one project incorporating Class 2 or Class 3 or Class 9c

one project incorporating Class 7 or Class 8.

Each building must be up to three storeys and not exceeding 2,000 square metres in floor area, and in a different geographical location as defined by the NCC.

For each project, the candidate must assess and confirm the compliance of the following building features against approved drawings, NCC and regulatory requirements:

access and egress

services and equipment

health and amenity

ancillary provisions

energy efficiency.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

legislative and regulatory compliance requirements for fire resistance, access and egress, services and equipment, health and amenity, ancillary provisions, safe movement and access, and energy efficiency of Class 2 to 9 buildings at the advanced and final stages of construction in different climate zones and geographic locations:

building control legislation and regulations

NCC including referenced Australian Standards to meet deemed-to-satisfy provisions and/or performance solutions:

fire resistance:

fire resistance and stability

compartmentation and separation and protection of openings

access and egress:

provisions for escape

construction of exits

access for people with disabilities

services and equipment:

emergency lighting

exit signs and warning systems

fire suppression and detection equipment

lift installations

smoke hazard management

health and amenity:

damp and weather proofing

light and ventilation

room sizes

sanitary or other facilities

sound transmission and insulation

waterproofing of wet areas

ancillary provisions:

construction in bushfire prone areas

heating appliances, fireplaces, chimneys and flues

minor structures and components

energy efficiency:

access for maintenance

air movement

air conditioning and ventilation systems

artificial lighting and power

building: fabric and sealing

external glazing

hot water supply

NCC classifications and definitions for buildings included in Classes 2 to 9:

building types

geographic and climate zones

principles of negotiation and conflict resolution used to maintain professional relationships during building inspection and reporting processes

workplace requirements for conducting and reporting on advanced and final construction inspections of Class 1 and 10 buildings:

equipment, including personal protective equipment (PPE)

reporting

work health and safety (WHS).

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessors must also:

be licensed as a Building Surveyor Level 1 (or equivalent) or Level 2 (or equivalent) in their state or territory, or

demonstrate current membership of a relevant industry association and have current registration on the National Building Professionals Register in the Building Industry Control category (level 1), or

be accredited under the Australian Institute of Building Surveyors (AIBS) National Accreditation Scheme at Building Surveyor level or be accredited by the Royal Institute of Chartered Surveyors as a building certifier.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to buildings, equipment, software, drawings, documentation and materials required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad