# Assessment Requirements for CPCCCA3005 Construct ceiling frames

Release: 3

Assessment Requirements for CPCCCA3005 Construct ceiling frames

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Criteria 3.3 removed |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCCA3005B Construct ceiling frames. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by planning, setting out, constructing and erecting a timber ceiling frame for structure with a minimum of three rooms and minimum area of 30 square metres.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the National Construction Code and Australian Standards relevant to constructing ceiling frames, including AS 1684 Residential timber-framed construction

workplace quality policies and standards for constructing ceiling frames

safety requirements for constructing ceiling frames:

working at heights

waste disposal requirements relevant to constructing ceiling frames

materials handling relevant to constructing ceiling frames

correct use of tools and equipment used to construct ceiling frames

processes for:

setting out and measuring materials for ceiling frames

calculating material requirements for ceiling frames

materials for constructing ceiling frames:

types of timber

engineered timber products and their structural properties and applications.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions and standards, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad