# Assessment Requirements for CPCCCA3017 Install exterior cladding

Release: 2

Assessment Requirements for CPCCCA3017 Install exterior cladding

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCCA3017B Install exterior cladding. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

producing a set-out rod for a minimum height of 2.1 metre using the effective cover of a weatherboard of a given profile

installing weatherproofing, a vapour barrier and flashing

fixing two different profiled weatherboards to eave height of at least 2.1 metres, incorporating an internal and an external corner with stops, flashings and sarking for a window and a door

installing a minimum of two different types of external cladding panels, incorporating an internal and an external corner, abutting a window or door, and joints between boards determined by the material being used, manufacturers’ recommendations and job specifications

attaching vertical and horizontal cladding to frames.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the National Construction Code and Australian Standards relevant to installing exterior cladding, including AS 1562 Design and installation of sheet roof and wall cladding

requirements for fire management and moisture and energy efficiency for installing exterior cladding

systems of cladding forming part of a fire-rated system

workplace quality policies and standards relevant to installing exterior cladding

safety requirements for installing exterior cladding

materials and techniques used when installing common forms of exterior cladding

manufactured cladding strips, sheets, boards and planks

application of both sheet and linear style claddings in a range of materials

use of pliable membranes, thermal break strips, sheets and battens relevant to installing exterior cladding

process and requirements for installing flashing and sarking when installing exterior cladding

procedures for safely handling and storing materials, and disposing of hazardous materials and waste

plans, specifications and drawings relevant to installing exterior cladding

types and uses of tools and equipment required to install exterior cladding

processes for calculating material requirements for installing exterior cladding

wall frame construction methods and their impact on processes to install exterior cladding.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions and standards, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad