# Assessment Requirements for CPCCCA3026 Assemble partitions

Release: 2

Assessment Requirements for CPCCCA3026 Assemble partitions

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by setting out, cutting and assembling partitions a minimum of 4.8 metres in length and 1.8 metres in height, including:

an L shape intersection

a T intersection

a window and door panel.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of national construction codes and Australian Standards relevant to assembling partitions

workplace quality policies and standards relevant to assembling partitions

safety requirements for assembling partitions

types and uses of tools and equipment required for assembling partitions

processes for assembling partitions for:

pre-glazed panels

lined or unlined door units

modular and custom window units

framed or solid

fixing and fasteners for assembling partitions

partition assembly techniques

partitioning materials and manufacturers’ instructions

plans, specifications and drawings for partitions

processes for setting out for assembling partitions.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad