# CPCCCM2005 Use construction tools and equipment

Release: 2

CPCCCM2005 Use construction tools and equipment

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCCM2005B Use construction tools and equipment. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to safely select and use basic construction tools and equipment.

It includes hand tools, power tools and pneumatic tools.

The unit is suitable for those with basic skills and knowledge undertaking routine work tasks under the direction of more experienced workers.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of unit CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry.

# Unit Sector

Common

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Select and use tools and equipment. | 1.1 | Review work instructions for a construction task. |
|  |  | 1.2 | Select equipment and hand, power and pneumatic tools for the construction task, identify functions and operations, check for serviceability and report any faults. |
|  |  | 1.3 | Select and use personal protective equipment (PPE) for each part of the task. |
|  |  | 1.4 | Conduct pre-operational checks to manufacturers’ specifications. |
|  |  | 1.5 | Use equipment and hand, power and pneumatic tools following WHS requirements and manufacturers’ specifications. |
| 2 | Clean up. | 2.1 | Clean up, meeting all legislative and workplace requirements for safety, waste disposal and materials handling. |
|  |  | 2.2 | Check, maintain and/or sharpen, store and secure tools and equipment and report any faults. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCCM2005B Use construction tools and equipment.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCCM2005 Use construction tools and equipment

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCCM2005B Use construction tools and equipment. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must complete three different construction tasks. Over the course of these three tasks, they must satisfy all the elements, performance criteria and foundation skills of this unit by safely and effectively using and maintaining and/or sharpening each of the following at least once:

hand tools:

retractable tape measure

builders square

string line

hand saw

hammer

chisel

trimming knife

clamps

spirit level

tin snips

shovel/spade

mattock

crow bar/fencing bar

power/battery/pneumatic tools and equipment:

circular saw

reciprocating saw

angle grinder

drill/driver drill

nail gun

bench grinder

jack hammer

extension lead

portable residual current device

air compressor and hoses.

Use of all tools must be to the standard required in the workplace and use must comply with work health and safety (WHS) requirements and manufacturers’ specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace quality policies and standards for using basic construction tools and equipment

safety requirements for using basic construction tools and equipment

manufacturers’ specifications for basic construction tools and equipment

types and uses of basic tools and equipment, including:

hand tools:

retractable tape measure

builders square

string line

hand saw

hammer

chisel

trimming knife

clamps

spirit level

tin snips

shovel/spade

mattock

crow bar/fencing bar

power/battery/pneumatic tools and equipment:

circular saw

reciprocating saw

angle grinder

drill/driver drill

nail gun

bench grinder

jack hammer

extension lead

portable residual current device

air compressor and hoses.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed while undertaking workplace tasks:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

industry-standard equipment used to perform the tasks specified in performance evidence

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad