# Assessment Requirements for CPCCCM3001 Operate elevated work platforms up to 11 metres

Release: 2

Assessment Requirements for CPCCCM3001 Operate elevated work platforms up to 11 metres

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 8.0. Changes to the Performance Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Version 2. Revised unit of competency. Replaces superseded equivalent CPCCCM3001C Operate elevated work platforms. |

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit. The person must also set up and operate each of the following types of elevated work platforms (EWPs) at two different locations on the site, including moving the plant around the work site safely:

self-propelled boom lift (BL)

scissor lift (SL).

The following functions and controls must be performed while operating both BL and SL:

boom up and down

operate attachments

operate outriggers, where fitted.

The following functions and controls must be performed while operating the BL:

slew left and right

telescope in and out.

At least one EWP must be set up and operated on uneven terrain, using outriggers as required.

In doing the above, the person must fit harnesses and attach lanyards as follows:

energy or shock absorbers, which must be used with all fall arrest equipment

lanyards, which must be attached to the harness installed so that the maximum distance a person equipped with a harness would free fall before the fall arrest system takes effect is two metres.

In doing the above, the person must also:

establish and apply a rescue plan

apply safe operating procedures, including conducting operational risk assessment and treatments associated with:

earth leakage boxes

lighting

power cables, including overhead service trays, cables and conduits

restricted access barriers

surrounding structures

traffic control

trip hazards

work site visitors and the public

working at heights up to 11 metres

working in proximity to others

working with dangerous materials

locate, interpret and apply information relating to job requirements, including:

diagrams and sketches

environmental requirements, including:

clean-up protection

noise and dust management

vibration management

waste management

quality requirements relevant to EWP work

instructions issued by authorised organisational and external personnel

manufacturer specifications, operator manual, and instructions where specified

signage

industry standards and job specifications

verbal, written and graphical instructions

work schedules, plans and specifications

comply with site safety plan and health and safety legislation, regulations and codes of practice applicable to workplace operations

safely and effectively use tools, plant and equipment relevant to EWP work

ensure safe working load of EWP is not exceeded

communicate with others on the work site using verbal and non-verbal communication and communication technology

work effectively and safely with others on the work site.

# Knowledge Evidence

A person demonstrating competency in this unit must demonstrate knowledge of:

functions and operational limitations of EWP equipment

types of EWP equipment and health and safety authority certification of competency requirements

controls and techniques for using EWP

health and safety requirements for construction work sites, including:

procedures relating to equipment operation, including emergency shutdown and stopping, extinguishing equipment fires, organisational first aid requirements, and evacuation procedures

hazard identification and risk control procedures, including for handling hazardous materials and dangerous goods

selection and use of personal protective equipment (PPE)

location and use of firefighting equipment

selection and use of tools and equipment

processes for identifying equipment faults

general construction terminology relevant to operating EWPs

safe operating procedures for operating EWPs, including contents of and terms used in:

job safety analyses (JSA)

safe work method statements (SWMS)

safety data sheets (SDS)

processes for calculating load mass requirements

quality requirements relevant to operating EWPs

regulatory and legislative requirements relevant to operating EWPs

AS 2550 Set: Cranes, hoists and winches - Safe use

relevant Acts, regulations and codes of practice relevant to working safely at heights on construction sites

procedures for working safely at heights

signalling methods and communications relevant to operating EWPs

types, characteristics, use and limitations of plant, tools and equipment relevant to operating EWPs

use and limitations of fall rescue systems.

# Assessment Conditions

Suitable assessment of performance requires:

equipment:

EWPs

extension leads

safety harnesses and lanyards

special attachments for the EWP when shifting equipment

PPE prescribed under legislation, regulations, codes of practice and workplace policies and practices

materials:

logbooks

service manuals

operator manuals

contingencies:

uneven terrain

specifications:

AS 2550 Set: Cranes, hoists and winches - Safe use

job specifications

manufacturer specifications

SWMS

physical conditions:

different weather conditions

relationship with team members and supervisor:

work is conducted as part of a team

timeframe:

according to job requirements.

### Assessor requirements

As a minimum, assessors must satisfy the assessor requirements in the Standards for Registered Training Organisations (RTOs) current at the time of assessment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad