# Assessment Requirements for CPCCCM3003 Work safely around electrical sources, services and assets

Release: 1

Assessment Requirements for CPCCCM3003 Work safely around electrical sources, services and assets

# Modification History

Release 1.

This version first released with CPC Construction, Plumbing and Services Training Package Version 2.

Revised unit of competency. Replaces superseded equivalent CPCCCM3003A Work safely around power sources, services and assets.

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit. On two different sites the person must also:

locate electrical sources, underground and overhead services, and assets

undertake work according to the safe work method statement (SWMS)

retract from powered area on completion of work.

The above work must involve:

locating, interpreting and applying information, standards and specifications relating to working safely around electrical sources, services and assets

complying with site safety plan and work health and safety (WHS) legislation, regulations and codes of practice applicable to workplace operations

locating on-site electrical sources, underground and overhead services, and assets and identifying associated required safe work practices

installing safety signage and barricades before commencing work

safely positioning plant and equipment on site, giving consideration to location of electrical sources, underground and overhead services, and assets.

# Knowledge Evidence

A person demonstrating competency in this unit must demonstrate knowledge of:

environmental requirements relevant to the work site and job task, including:

clean-up protection

noise and dust management

vibration management

waste management

equipment safety requirements, including procedures for accessing and interpreting:

SWMS

safety data sheets (SDS)

procedures for materials storage and environmentally friendly waste management

techniques to read and interpret plans, specifications and drawings

safe work practices required on construction sites, including:

required signage and barricades

required personal protective equipment (PPE)

site-specific emergency procedures, including:

evacuation

first aid, including cardiopulmonary resuscitation (CPR)

location and use of firefighting equipment

techniques for working with electrical sources, services and assets

procedures for working safely at heights

types, characteristics, uses and limitations of plant, tools and equipment used in the work specified in performance evidence.

# Assessment Conditions

Suitable assessment of performance requires:

equipment:

PPE, as appropriate to the task

materials:

signage and barricades appropriate to the task and work site

specifications:

verbal or written instructions and task-specific information issued by authorised personnel

plans and specifications appropriate to the task

SDS appropriate to the tools and equipment used to perform tasks

SWMS

relationships with team members and supervisor:

work may be conducted alone or as part of a team

timeframe:

according to job requirements.

### Assessor requirements

As a minimum, assessors must satisfy the assessor requirements in the Standards for Registered Training Organisations (RTOs) current at the time of assessment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad