# CPCCCM3003 Work safely around electrical sources, services and assets

Release: 1

CPCCCM3003 Work safely around electrical sources, services and assets

# Modification History

Release 1.

This version first released with CPC Construction, Plumbing and Services Training Package Version 2.

Revised unit of competency. Replaces superseded equivalent CPCCCM3003A Work safely around power sources, services and assets.

# Application

This unit of competency specifies the outcomes required to ensure the safety of personnel and equipment when working with or operating plant while in close proximity to electrical sources, underground and overhead services, and assets.

The unit supports construction workers working on powered construction sites who must check and confirm the location of electrical sources, underground and overhead services, and assets before commencing work. It applies to residential and commercial work sites.

No licensing, legislative, regulatory, or certification requirements apply to this unit of competency at the time of endorsement.

# Pre-requisite Unit

Nil

# Competency Field

Common

# Unit Sector

Construction

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions. |  |
| --- | --- | --- | --- |
| 1. | Plan and prepare. | 1.1. | Work instructions, including plans, specifications, environmental and quality requirements, and operational details, are obtained, confirmed with relevant personnel, and applied to planning. |
|  |  | 1.2. | Health and safety requirements are identified and applied to planning. |
|  |  | 1.3. | Plant, tools and equipment are selected to carry out tasks according to job requirements, checked for serviceability, and any faults are rectified or reported prior to starting work. |
| 2. | Apply safe work practices. | 2.1 | Relevant authorities are contacted to identify type and location of electrical sources, underground or overhead services, and assets. |
|  |  | 2.2 | Plant is positioned according to safe work method statement (SWMS). |
|  |  | 2.3 | Plant operation procedures are followed to comply with SWMS. |
|  |  | 2.4. | Work is conducted in or around the electrical source, service or asset according to SWMS. |
|  |  | 2.5. | On completion of work, personnel, plant and equipment are retracted from powered area following SWMS. |
| 3. | Clean up. | 3.1. | Work area is cleared and materials disposed of, reused or recycled according to legislation, regulations, codes of practice and job specifications. |
|  |  | 3.2. | Plant, tools and equipment are cleaned, checked, maintained and stored according to manufacturer recommendations and standard work practices. |
|  |  | 3.3. | Work completion procedures are followed and relevant personnel are notified that work is finished. |

# Foundation Skills

| This section describes the language, literacy, numeracy and employment skills essential to performance in this unit but not explicit in the performance criteria. |  |
| --- | --- |
| Skill | Performance feature |
| Learning skills to: | evaluate the relevance of information relating to the location of electrical sources, underground or overhead services, and assets to the work to be undertaken. |
| Oral communication skills to: | share information with team members and other personnel on site participate in straightforward conversations with colleagues and external authorities, and ask questions to identify and confirm requirements. |
| Reading skills to: | interpret a range of documentation, including SWMS, site plans and job specifications. |
| Writing skills to: | report faults in plant or equipment to relevant personnel. |

# Range of Conditions

| This section specifies work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Bold italicised wording, if used in the performance criteria, is detailed below. |  |
| --- | --- |
| Health and safety requirements must include: | emergency procedures, including: first aid evacuation location and use of firefighting equipment hazard identification and risk control procedures, including for handling hazardous materials and substances safe operating procedures, including the conduct of operational risk assessment and treatments associated with: earth leakage boxes job specifications lighting manual handling techniques electric lines, including overhead service trays, cables and conduits restricted access barriers safety data sheets (SDS) surrounding structures traffic control trip hazards use of signage and barricades requirements for: work site visitors and the public working at heights working in confined spaces working in proximity to others selection, correct fitting, and use of personal protective equipment (PPE) prescribed under legislation, regulations and workplace policies and practices selection and use of tools and equipment workplace environmental requirements. |
| Electrical sources, underground or overhead services, and assets must include: | distribution towers generators poles substations temporary services train and tram assets transmission towers underground and overhead lines underground conductors. |

# Unit Mapping Information

CPCCCM3003A Work safely around power sources, services and assets

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad