# Assessment Requirements for CPCCCO3049 Apply and finish sprayed concrete

Release: 1

Assessment Requirements for CPCCCO3049 Apply and finish sprayed concrete

# Modification History

Release 1.

Supersedes and equivalent to CPCCCO3049A Apply and finish sprayed concrete.

The unit of competency was updated to the Standards for Training Packages 2012.

This version first released with CPC Construction, Plumbing and Services Training Package Version 4.0.

# Performance Evidence

To demonstrate competency in this unit, a person must apply and finish sprayed concrete:

using both wet and dry spraying concreting methods

in two different projects, each project involving a minimum of 10 square metres of concrete.

In doing this, the person must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

jurisdictional work health and safety (WHS) and environmental legislation and regulations relating to applying and finishing sprayed concrete, including:

job safety analyses (JSAs)

safe work method statements (SWMSs)

safety data sheets (SDSs)

safety manuals and instructions for plant, tools and equipment

signage and barricades

personal protective equipment (PPE)

environmental and work site safety plans

requirements of Australian Standards and the National Construction Code (NCC) relating to applying and finishing sprayed concrete

workplace requirements for all aspects of applying and finishing sprayed concrete, including interpreting work orders and reporting problems

types, characteristics, uses and limitations of tools, equipment and materials required for applying and finishing sprayed concrete, including:

safe operating procedures

operational, maintenance and basic diagnostic procedures

workplace and equipment safety requirements

techniques for applying and finishing sprayed concrete

quality requirements relevant to applying and finishing sprayed concrete

processes, materials and equipment for applying and finishing sprayed concrete

concrete surfaces where spray methods may be applied, including:

barrel vaulting

caissons

canal linings

diaphragm walls

drainage channels

irrigation

piled wall facings

reservoirs

shell roofs and domes

silo structures

swimming pools

tunnel linings

walls

water towers

requirements for cleaning up work area and tools, materials storage and environmentally friendly waste management.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment. Tasks are to be performed to the level of proficiency and within the time limits expected in a workplace.

Assessors are responsible for ensuring that the person demonstrating competency has access to:

work sites and specifications for applying and finishing sprayed concrete

appropriate documents, materials, tools, equipment and PPE currently used in industry

requirements of appropriate sections of legislation and regulations

relevant workplace policies and procedures.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad