# CPCCCO3049 Apply and finish sprayed concrete

Release: 1

CPCCCO3049 Apply and finish sprayed concrete

# Modification History

Release 1.

Supersedes and equivalent to CPCCCO3049A Apply and finish sprayed concrete.

The unit of competency was updated to the Standards for Training Packages 2012.

This version first released with CPC Construction, Plumbing and Services Training Package Version 4.0.

# Application

This unit of competency specifies the skills and knowledge required to apply and finish pre-mixed spray concrete to a variety of surfaces to develop retaining structures.

It includes applying and finishing sprayed concrete to surfaces where conventional concreting methods cannot be applied, including barrel vaulting, caissons, canal linings, diaphragm walls, drainage channels, irrigation systems, piled wall facings, reservoirs, shell roofs and domes, silo structures, swimming pools, tunnel linings, walls and water towers.

It applies to concreters working as members of a team with at least a moderate degree of autonomy. They would be expected to complete routine activities without close supervision.

Licensing, legislative, regulatory or certification requirements apply to this unit of competency in all states and territories except Tasmania. Relevant state and territory regulatory authorities should be consulted to confirm these requirements.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry

# Unit Sector

Construction

# Elements and Performance Criteria

| Elements describe the essential outcomes. | Performance criteria describe what needs to be done to demonstrate achievement of the element. |
| --- | --- |
| 1. Plan and prepare to apply and finish sprayed concrete. | 1.1 Review and clarify task to apply and finish sprayed concrete. 1.2 Review task specifications and check to make sure they are in accordance with legislation, regulations and codes of practice. 1.3 Review work health and safety (WHS) requirements for the task in accordance with safety plans and policies. 1.4 Identify safety signage and barricade requirements. 1.5 Review environmental requirements for the task in accordance with environmental plans and legislative requirements. 1.6 Select plant, tools and equipment, check for serviceability and rectify or report any faults. 1.7 Calculate material quantity requirements. 1.8 Acquire materials for the task and locate them safely ready for use. |
| 2. Apply concrete using dry and wet spray process. | 2.1 Erect identified safety signage and barricades, and fit personal protective equipment (PPE). 2.2 Prepare dry pumping or wet pumping equipment for delivery of concrete mix to spray nozzle. 2.3 Check reinforcement to ensure it is away from structure where concrete is to be applied. 2.4 Apply concrete to surface using wet spray or dry spray method within specified tolerances. 2.5 Shape and finish sprayed concrete to required form. |
| 3. Clean up after applying and finishing sprayed concrete. | 3.1 Clear work area and dispose of, re-use or recycle materials in accordance with legislation, regulations, codes of practice and task requirements. 3.2 Clean, check, maintain and store tools and equipment in accordance with manufacturers’ specifications and workplace requirements. |

# Foundation Skills

This section describes the language, literacy, numeracy and employment skills essential to performance in this unit but not explicit in the performance criteria.

oral communication skills to:

use questioning to identify and confirm requirements

discuss cause of problems

report work site hazards, including faults in tools, equipment and materials

provide feedback.

# Unit Mapping Information

Supersedes and is equivalent to CPCCCO3049A Apply and finish sprayed concrete.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad