# Assessment Requirements for CPCCDE3014 Remove non-friable asbestos

Release: 2

Assessment Requirements for CPCCDE3014 Remove non-friable asbestos

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Rectified pre-requisite unit. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCDE3014A Remove non-friable asbestos. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must undertake two separate non-friable asbestos removal and disposal tasks.

This must include:

planning and preparing for removal of non-friable asbestos

preparing non-friable asbestos removal site and removal area

isolating non-friable removal area

carrying out non-friable asbestos removal process

carrying out non-friable asbestos decontamination process

cleaning up removal work area after removal of non-friable asbestos.

In doing this, the candidate must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

the compliance requirements of the relevant Australian Standards, Building Code of Australia (BCA), model codes of practice, environmental and work health and safety (WHS) legislation

range of materials manufactured using asbestos, the type of asbestos used in each material, and the usual applications associated with the material, together with an understanding of:

health effects caused by exposure to non-friable asbestos containing material (ACM) and requirements for safe handling and removal

health impacts on the community and requirements for safe handling and disposal

hazards, including health hazards, associated with non-friable ACM and circumstances that may change the nature of ACM from non-friable to friable

safe work methods for the removal of non-friable asbestos

requirements of current legislation and standards

handling requirements of differing types of asbestos materials

work area procedures

risk assessment processes and contingency planning, job safety analysis (JSA), safety data sheets (SDS), asbestos registers and register amendments and safe work method statements (SWMS) related to removal of non-friable asbestos

materials storage and hazardous waste management

method of operation, and cleaning, use and maintenance requirements of equipment

techniques associated with removing asbestos

types, characteristics, uses and limitations of plant and equipment involved in enclosing and removing asbestos

workplace and equipment safety requirements, including other associated hazard areas

purpose and application of documentation for notification; and use of asbestos removal control plan (ARCP) and clearance inspections.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment.

Assessors are responsible for ensuring that the candidate demonstrating competency has access to:

worksite/s and specifications for removal of non-friable asbestos

appropriate documents, materials, tools, equipment and personal protective equipment (PPE) currently approved for use in industry, as per codes of practice, Australian Standards, requirements of legislation, regulations and requirements of workplace policies and as required by state, territory and Commonwealth regulators.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad