# Assessment Requirements for CPCCDE3018 Select and use small plant and equipment for demolition tasks

Release: 2

Assessment Requirements for CPCCDE3018 Select and use small plant and equipment for demolition tasks

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCDE3018A Select and use small plant and equipment for demolition tasks. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must select and use small plant and equipment to complete three of the following on-site demolition tasks:

break a minimum of two square metres of concrete

dismantle 20 square metres of purlins and wall or roof sheeting

demolish 10 lineal metres of three-metre high masonry wall

identify services infrastructure in a minimum 20 square-metre section of a building, and remove the infrastructure (ducting, cabling, pipework) for one service

remove wall cladding and floor coverings from a minimum 10 square-metre section of a building

remove a ceiling from a 20 square-metre section of a building.

In doing this, the candidate must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

the compliance requirements of the relevant Australian Standards, Building Code of Australia (BCA), model codes of practice, environmental and work health and safety (WHS) legislation

general construction terminology

hazards that may exist or arise on demolition sites, including those associated with the use of demolition small plant and equipment

procedures for:

environmentally friendly waste management

managing risks and hazards on demolition sites

sorting and storing reusable and recyclable materials

types of information required to plan and prepare for safe and effective completion of demolition tasks

types of small plant and equipment applicable to demolition tasks:

applications of each type of small plant or piece of equipment

maintenance requirements

safe methods of operation for different demolition tasks.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment.

Assessors are responsible for ensuring that the candidate demonstrating competency has access to:

worksite/s and specifications for selecting and using small plant and equipment for demolition tasks

appropriate documents, materials, tools, equipment and personal protective equipment (PPE) currently used in industry

requirements of workplace policies, procedures and demolition plans.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad