# Assessment Requirements for CPCCDE3019 Demolish small buildings and structures using hand tools and small plant and equipment

Release: 2

Assessment Requirements for CPCCDE3019 Demolish small buildings and structures using hand tools and small plant and equipment

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCDE3019A Demolish small buildings and structures using hand tools and small plant and equipment. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must use hand tools, small plant and equipment to demolish a small building or structure, including removing at least four of the following components:

fixtures and fittings

a pitched metal/tiled roof

trusses

ceiling

external and internal walls

floor and floor support system.

In doing this, the candidate must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

the compliance requirements of the relevant Australian Standards, Building Code of Australia (BCA), model codes of practice, environmental and work health and safety (WHS) legislation

general construction terminology

hazards associated with demolition tasks

demolition processes and techniques for small structures

procedures for material storage and environmentally friendly waste management

types of small plant, tools and equipment used in the demolition of small buildings:

applications

characteristics

limitations

maintenance requirements

methods of operation

quality requirements relating to the demolition of small structures

work and equipment safety requirements that apply to the demolition of small buildings and structures.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment.

Assessors are responsible for ensuring that the candidate demonstrating competency has access to:

worksite/s and specifications for using hand tools, small plant and equipment to demolish small buildings and structures

appropriate documents, materials, tools, equipment and personal protective equipment (PPE) currently used in industry

requirements of workplace policies, procedures and demolition sites.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad