# Assessment Requirements for CPCCDE3027 Read and interpret demolition site plans and drawings

Release: 2

Assessment Requirements for CPCCDE3027 Read and interpret demolition site plans and drawings

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unt |

# Performance Evidence

A candidate who demonstrates competency in this unit must read and interpret two different residential demolition site plans and two different commercial demolition site plans.

In doing this, the candidate must meet the requirements of the performance criteria.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the relevant Australian Standards, Building Code of Australia (BCA), model codes of practice, environmental and work health and safety (WHS) legislation

features and functions of different types of demolition site plans:

drawings

cross-sectional plans

demolition work method statement

demolition management plan

traffic management plan

dilapidation report

hazardous materials audit

engineering reports and assessments

demolition site instructions

demolition project specifications

structural detail and specification providing illustrations and dimensions

legends, symbols and abbreviations used on demolition work plans

processes for:

checking amendments to plans

orientating demolition site plans against sites

locating site demolition locations from site plans

key features of demolition site plans:

characteristics

compatibility

construction

location

pattern dimension

quantities

sizes

environmental requirements:

clean-up management

waste management

hazardous materials

key features of specifications:

detail relating to materials and quality of work, quality assurance, nominated subcontractors, and provision of demolition site access/facilities

details relating to performance:

characteristics

material types

standards of work

tolerances

treatments and finishes.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment.

Assessors are responsible for ensuring that the candidate demonstrating competency has access to:

plans and specifications for a demolition project and access to a demolition site

reference material and equipment to read and interpret plans and specifications for demolition projects.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad