# Assessment Requirements for CPCCDE4002 Plan demolition work to minimise risk to health, safety and environment

Release: 2

Assessment Requirements for CPCCDE4002 Plan demolition work to minimise risk to health, safety and environment

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCDE4002A Plan and supervise demolition work to minimise environmental and public health and safety impact. Minor title change. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must plan and supervise demolition work to minimise environmental and public health and safety impact on two demolition projects, one of which must involve a structure above 15 metres in height. The candidate must:

assess the potential impacts of the demolition tasks

identify measures to minimise the impacts of the demolition work on the environment

identify measures to minimise the impacts of the demolition work on the public

review strategies and demolition work plan

brief and consult with the demolition team.

In doing this, the candidate must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

the compliance requirements of the relevant Australian Standards, Building Code of Australia (BCA), model codes of practice, environmental and work health and safety (WHS) legislation

demolition procedures, techniques and safety requirements

demolition site inspection procedures

environmental and public health and safety hazards and risks existing or arising on demolition sites, and relevant risk management strategies

legislation, regulations, codes and standards relating to environmental and public health and safety on demolition sites

plant, tools and equipment required for demolition tasks:

permits and licences required

safe operating procedures

project management strategies

quality management strategies

strategies to minimise environmental and public health and safety risks on and around demolition sites

team leadership strategies.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment.

Assessors are responsible for ensuring that the candidate demonstrating competency has access to:

worksite/s and specifications for planning and documenting demolition work

appropriate documents, materials, tools, equipment and personal protective equipment (PPE) currently used in industry

requirements of workplace policies, procedures and demolition plans.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad