# CPCCLRG3001 Licence to perform rigging basic level

Release: 3

CPCCLRG3001 Licence to perform rigging basic level

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 8.0. Change to the Application of the unit. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCLRG3001A Licence to perform rigging basic level. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to safely perform basic rigging work.

Riggers use mechanical load shifting equipment and associated gear to move, place or secure loads, including plant, equipment or members of a structure. Riggers ensure the stability of those members and set up and dismantle hoists.

This unit applies to rigging work involving:

structural steel erection

hoists

pre-cast concrete members of a structure

safety nets and static lines

mast climbing work platforms

perimeter safety screens and shutters

cantilevered crane loading platforms.

Rigging work is undertaken in construction and other industries where load shifting equipment is used to move, place or secure loads.

Completion of the general construction induction training program, specified in the Safe Work Australia model Code of Practice: Construction Work, is required by anyone carrying out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

This unit has a pre-requisite requirement. This requirement may be met by either the successful completion of the unit CPCCLDG3001 Licence to perform dogging or holding a valid licence for dogging.

Competence in this unit does not in itself result in a licence. A licence is obtained after competence is assessed under applicable Commonwealth, state or territory work health and safety (WHS) regulations.

# Pre-requisite Unit

CPCCLDG3001 Licence to perform dogging

# Unit Sector

Licencing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan task. | 1.1 | Review task instructions, consult with relevant persons to seek clarification as required, and obtain relevant workplace information. |
|  |  | 1.2 | Obtain and interpret information, including safe work method statements (SWMSs), required to ensure that activities are performed in compliance with workplace-specific and safe work requirements. |
|  |  | 1.3 | Obtain and interpret information required to ensure that equipment inspection, use, maintenance and storage complies with manufacturer requirements. |
|  |  | 1.4 | Identify workplace and task-specific hazards and determine required risk controls and safety measures and equipment, including signs and barricades, personal protective equipment (PPE), and fall prevention and fall arrest equipment. |
|  |  | 1.5 | Identify methods of moving and placing tools, equipment and materials to minimise the risk of falling objects, to avoid inappropriate carrying on ladders and to minimise hazardous manual tasks. |
|  |  | 1.6 | Identify required rigging equipment and associated gear. |
|  |  | 1.7 | Calculate loads associated with mechanical load shifting equipment and associated gear required to erect and dismantle structures and plant. |
|  |  | 1.8 | Establish required communication methods with relevant persons. |
| 2 | Select and inspect equipment. | 2.1 | Select risk controls and equipment, including fall prevention and fall arrest equipment, and check that it is working and fit for purpose. |
|  |  | 2.2 | Select and check PPE. |
|  |  | 2.3 | Select rigging equipment and associated gear, inspect for defects, and isolate, tag out, report and record defective items. |
|  |  | 2.4 | Select communication equipment and check that it is working and fit for use. |
| 3 | Set up task. | 3.1 | Establish and maintain communication with relevant persons to ensure task plan and risk controls are communicated clearly, including any impact on other workplace activities. |
|  |  | 3.2 | Ensure risk controls and safety measures and equipment have been put in place, including the fitting, adjusting and anchoring of fall protection equipment. |
|  |  | 3.3 | Consult with relevant persons to ensure that ground and foundation have been assessed as suitable for task. |
|  |  | 3.4 | Consult with relevant persons to ensure that the structure has been assessed as suitable for load bearing task. |
| 4 | Undertake basic rigging activities. | 4.1 | Erect and dismantle all structures and plant while maintaining stability, in accordance with workplace and manufacturer requirements. |
|  |  | 4.2 | Erect structural steel. |
|  |  | 4.3 | Erect pre-cast concrete members of a structure, or lift and install a series of scenery panels. |
|  |  | 4.4 | Erect and dismantle a safety net and static line. |
|  |  | 4.5 | Erect and dismantle a hoist or mast climbing work platform. |
|  |  | 4.6 | Install and dismantle a perimeter safety screen or shutter. |
|  |  | 4.7 | Install and dismantle a cantilevered crane loading platform. |
| 5 | Complete task. | 5.1 | Remove excess materials from work area. |
|  |  | 5.2 | Inspect structures, plant, equipment and gear for defects, and isolate, tag out and report defective items. |
|  |  | 5.3 | Store plant, equipment and gear in accordance with workplace requirements. |
|  |  | 5.4 | Remove risk controls and safety measures and equipment. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCCLRG3001A Licence to perform rigging basic level.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCLRG3001 Licence to perform rigging basic level

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 8.0. Change to the Application of the unit. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCLRG3001A Licence to perform rigging basic level. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the elements and performance criteria by safely performing rigging tasks at a basic level, including:

erecting and dismantling a portal frame of structural steel consisting of columns (150 UC 29.8 kg/m), beams (minimum 200 UB 29.8 kg/m) and braces in accordance with engineering detail. It must include:

appropriate structural bolts, nuts, washers, purlins and girts

beams installed at a height of at least 4 m

suitable access and working platform (e.g. elevated work platform, mobile scaffold, scissor lift, portable industrial grade ladder)

It must be packed and plumbed and include temporary bracing during erection and dismantling. Hand tools and working at height safety equipment, including harness, lanyard and inertia reel, must be used

installing and removing a series of three retaining wall panels, each panel being not less than 4 m high by 2 m wide and not less than 1.5 tonnes. One panel must be set at a 90-degree angle to one of the other panels - candidates must identify any defective lifting equipment

installing and removing a safety (catch) net with minimum dimensions of 3 m x 4 m in accordance with manufacturer specification and engineering detail on portal frame - candidates must identify any defective nets

installing, using and removing a static line at least 2.1 m above the beams on portal frame, in accordance with manufacturer specifications and engineering detail – candidates must identify any defective static lines and associated equipment

installing and removing a cantilevered materials hoist (1 or 2 barrow) or a mast climbing work platform of at least three mast sections and tied in accordance with specifications

installing and dismantling a perimeter safety screen or shutter of at least 4 m x 2 m in accordance with manufacturer specifications and engineering detail

installing and dismantling a cantilevered crane loading platform at a height of at least 4 m with secure gates and handrails in accordance with manufacturer specifications and engineering detail

setting up and operating a powered winch to move a load of at least 1 tonne

using the following splice and hitch techniques:

eye splice

becket hitch.

The candidate must:

check relevant workplace information, including safe work method statements (SWMSs) and equipment service and maintenance records and checklists

perform all activities in compliance with workplace-specific, safe work and manufacturer requirements

use the following associated gear:

beam clamps or pipe clamps or plate clamps

tag lines

flexible steel wire rope (FSWR)

chains

wire and synthetic slings

shackles

wedge sockets

eye bolts

rope grips

turnbuckles

chain blocks

sheave blocks

spreader bars or lifting beam

levers/podgers

skates/rollers

wedges

props

powered winches

snatch blocks

wire rope winches

lever pull (e.g. come-alongs)

identify hazards and use appropriate risk controls and safety measures and equipment

safely erect and dismantle structures and plant.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

safe work requirements for rigging under Australian Standards and Commonwealth and state or territory work health and safety (WHS) legislation, regulations, standards and codes of practice

workplace information, including legislative requirements covered by:

SWMSs

permits and certifications

information about equipment:

service and maintenance checklists and records

manufacturer and supplier specifications and manuals

workplace procedures, including emergency plans and incident reporting

hazard identification and mitigation strategies, including the hierarchy of control:

elimination

substitution

isolation

engineering controls

administrative controls

use of personal protective equipment (PPE)

hazards commonly encountered in rigging basic level:

instability of work areas

damaged or poor-quality equipment

overhead and underground hazards

electrical items

mobile plant

insufficient lighting

wind and other adverse weather conditions

traffic

pedestrian traffic

hazardous manual tasks

falling objects

falls from heights

minimum clearance distance from powerlines or electrical equipment specific to mobile plant and scaffolding and other structures as determined by relevant state or territory authority or electrical supply authority

risk controls and equipment:

traffic control

pedestrian barricades

PPE

adequate illumination

safety structures and screens

inspection, handling and storage of rigging structures and equipment, associated gear, and other required equipment:

rigging structures and equipment:

elevated work platforms

cantilevered crane loading platforms

portal frames

hoists

pre-cast concrete members

mast climbing work platform

safety screens and shutters

safety nets

associated gear:

power and manually operated lifting gear

lifting clutches

tag lines

FSWR

chains

wire and synthetic slings

shackles

terminations

wedge sockets

eye bolts

beam clamps

pipe clamps

plate clamps

rope grips

turnbuckles

chain blocks

lever blocks

lever-action winches

sheaves

spreader bars

lifting beams

jacks

levers

skates

wedges

rollers

beam trolley

props

safety equipment:

full-body safety harness

energy absorber

lanyard

inertia reel (fall arrester)

static safety lines

PPE:

hard hat

safety boots

gloves

high-visibility clothing

breathing, hearing, sight, skin and sun protection

communication equipment:

two-way radios

whistles

relevant persons:

doggers

riggers

crane operators

engineers

supervisors

ground and foundation suitability:

rough, uneven ground

backfilled ground

soft soils

hard compacted soil

rock

bitumen

concrete

suspended concrete floors

building roofs

landings

ground bearing pressure

mathematical processes for estimating and measuring loads for basic rigging

techniques for making temporary connections.

# Assessment Conditions

Assessors must meet the requirements for assessors outlined in the Standards for Registered Training Organisations.

Only assessors who are accredited in the licence class by the appropriate WHS regulator for the jurisdiction where the licence is obtained are permitted to conduct the final high-risk work licence assessment. The final licence assessment will only be undertaken with candidates who have completed training and been formally assessed against all elements in this unit.

Assessment must be conducted in the workplace or in a simulated workplace environment using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations, including:

the use of full-scale, industry-standard equipment, not simulators

performance of tasks within the timelines expected in a workplace

participation of the candidate in activities within a team of three to five members.

Candidates must have access to:

all personnel and equipment required to perform the tasks specified in the Performance Evidence

workplace information and records, including:

equipment and maintenance checklists

record system for service and maintenance history

incident reports

workplace procedures, including SWMSs and emergency plans

equipment manuals and manufacturer specifications

relevant plant supplier information.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad