# Assessment Requirements for CPCCLSF3001 Licence to erect, alter and dismantle scaffolding intermediate level

Release: 3

Assessment Requirements for CPCCLSF3001 Licence to erect, alter and dismantle scaffolding intermediate level

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 8.0. Change to the Application of the unit. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCLSF3001A Licence to erect, alter and dismantle scaffolding intermediate level. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the elements and performance criteria by safely erecting, altering and dismantling the following:

cantilevered and spurred scaffold

barrow ramp or sloping platform

tube and coupler scaffold of at least four medium duty bays long and two lifts high with a working platform of at least 4 m in height with a ladder access. It must have a cantilevered platform at the rear of the scaffold and include a ramp constructed with steel tube from the rear of the scaffold to a height of 1 m and a width of at least 675 mm, and include handrails, toe boards and mid rails; all planks must be secured

cantilevered crane-loading platform

mast climbing work platform.

The candidate must also produce a tube and coupler scaffold plan in accordance with Australian Standards, demonstrating the following:

diagonal staggering of standards

staggering of ledgers

joins of ledgers within 300 mm of standards

joins of standards within 300 mm of ledgers

positioning of ledgers.

The candidate must:

check relevant workplace information, including safe work method statements (SWMSs) and equipment service and maintenance records and checklists

perform all activities in compliance with workplace-specific requirements, safe work requirements and manufacturer requirements, including the completion of any required handover certificates and scaffold tags

identify hazards and use appropriate risk controls and safety measures and equipment

use the following associated gear and stability equipment:

planks

flexible steel wire rope (FSWR) and fittings

ladders

tie tubes and fittings

fibre rope

tape measures

scaffold belts

hand tools

levels

sole plates and boards

screw jacks

props

bracing.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

safe work requirements for scaffolding under Australian Standards, Commonwealth and state or territory work health and safety (WHS) legislation, regulations and codes of practice, and local government regulations

workplace information, including legislative requirements covered by:

SWMSs

permits and certifications

information about equipment:

service and maintenance checklists and records

manufacturer and supplier specifications and manuals

workplace procedures, including emergency plans and incident reporting

hazard identification and mitigation strategies, including the hierarchy of control:

elimination

substitution

isolation

engineering controls

administrative controls

use of personal protective equipment (PPE)

hazards commonly encountered in scaffolding activities:

instability of work areas

damaged or poor-quality equipment

overhead and underground hazards

electrical items

mobile plant

insufficient lighting

wind and other adverse weather conditions

traffic

pedestrian traffic

hazardous manual tasks

falling objects

falls from heights

minimum clearance distance for scaffolding work from powerlines and electrical equipment as determined by the relevant state or territory authority or electrical supply authority

risk controls and equipment:

establishment of safe and adequate access and egress

adequate illumination

traffic barricades and control

pedestrian barricades

safety harness

energy absorber

lanyard

inertia reel

PPE:

hard hat

safety boots

gloves

high-visibility clothing

breathing, hearing, sight and skin (sun) protection

application, limitation, operation, load capabilities and safety requirements of:

cantilevered crane loading platforms

cantilevered scaffolds

spur scaffolds

barrow ramps and sloping platforms

scaffolding associated with perimeter safety screens and shutters

mast climbing work platforms

tube and coupler scaffolds, including tube and coupler covered ways and gantries

dimensions of scaffold, maximum capacities and types of loads:

static loads

live loads

dead loads

dynamic loads

load capacities and minimum dimensions for light duty, medium duty, heavy duty and special duty scaffolds

engineering and supplier specifications

mathematical processes for estimating loads for scaffolds

design of tube and coupler scaffolding

types and functions of associated equipment, including selection, inspection, care, handling, application, storage and limitations of:

scaffolding components and equipment

independent adjustable props

mast climbers

safety screens and shutters

planks

FSWR and fittings

ladders

tie tubes and fittings

fibre rope

stairways and screening

box spanners

hammers

tape measures

scaffold belts

podgers

wire nips

wrenches

torpedo levels

shovels

spanners

cutters

hammer drills

stability equipment and processes:

sole plates and boards

screw jacks

levelling

ties

bracing and propping

relevant persons:

other scaffolders

doggers and riggers

designers and engineers

supervisors

ground and foundation suitability:

rough and uneven ground

backfilled ground

soft soils

hard compacted soil

rock

bitumen

concrete

workplace policies and procedures for scaffolding:

erecting, altering and dismantling scaffolds

manufacturer requirements for scaffolding

working safely at heights

setting up fall prevention and fall arrest systems, including safety nets

interpreting structural charts and structural plans.

# Assessment Conditions

Assessors must meet the requirements for assessors outlined in the Standards for Registered Training Organisations.

Only assessors who are accredited in the licence class by the appropriate WHS regulator for the jurisdiction where the licence is obtained are permitted to conduct the final high-risk work licence assessment. The final licence assessment will only be undertaken with candidates who have completed training and been formally assessed against all elements in this unit.

Assessment must be conducted in the workplace or in a simulated workplace environment using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations, including:

the use of full-scale, industry-standard equipment, not simulators

performance of tasks within the timelines expected in a workplace

participation of the candidate in activities within a team of three to five members.

Candidates must have access to:

all personnel and equipment required to perform the tasks specified in the Performance Evidence

workplace information and records, including:

equipment and maintenance checklists

record system for service and maintenance history

reporting procedures

workplace procedures, including SWMSs and emergency plans

equipment manuals and manufacturer specifications

relevant plant supplier information.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad