# Assessment Requirements for CPCCOM1016 Identify requirements for safe precast and tilt-up work

Release: 2

Assessment Requirements for CPCCOM1016 Identify requirements for safe precast and tilt-up work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes but is not equivalent to CPCCCM1016 Identify requirements for safe tilt-up work. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by identifying requirements for safe precast or tilt-up work at one workplace where the precast or tilt-up construction process is used.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

basic principles of risk management relevant to precast and tilt-up construction

general safety requirements for equipment and tools used in precast and tilt-up construction:

cranes

elevated work platforms

manual tools

mobile scaffolding

portable electric and pneumatic tools

braces and props

rigging equipment and gear

safety net and static lines

work health and safety and regulatory requirements relevant to the precast and tilt-up construction process:

Australian Standard (AS) 3850 Prefabricated concrete elements

duty holder responsibilities

emergency procedures

job safety analyses

personal protective equipment

safe work method statements

work plans and/or work health and safety management plans

working around mobile plant and machinery, and general site hazards

stages of the precast and tilt-up construction processes and their interrelationships:

design and manufacture

handling, storage and transportation

cranage and erection

temporary bracing, stabilisation and incorporation of concrete panels

demolition

typical faults, problems and hazards that may occur when design and safety requirements are not met in the precast and tilt-up construction process.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to full documentation relating to jurisdictional requirements for safe precast and tilt-up work.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad