# Assessment Requirements for CPCCOM3006 Carry out levelling operations

Release: 2

Assessment Requirements for CPCCOM3006 Carry out levelling operations

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCCM3006 Carry out levelling operations. Updated to reflect current industry terminology, tools and equipment. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by carrying out levelling operations over a minimum of two change points to:

identify site hazards

establish approximate distances and transfer of reduced levels

measure and record:

ground levels at respective critical set-out points

heights or levels for building components

heights or levels of ceilings and floors

slab or pad levels for placement of steel columns or masonry piers

determine shooting levels for:

concrete slabs

excavation or footings

transfer levels or heights for construction projects

calculate rise and fall and height from collimation.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the Australian Standards relevant to carrying out levelling operations

workplace quality policies and standards relevant to carrying out levelling operations

safety requirements for carrying out levelling operations

basic construction and levelling processes

construction plans, symbols and construction terminology relevant to carrying out levelling operations

processes for interpreting engineering drawings and sketches for carrying out levelling operations

processes for setting out construction tasks for levelling operations

project quality requirements for carrying out levelling operations

site isolation and traffic control responsibilities and authorities

levelling techniques commonly used in construction work

levelling activities:

establishing approximate distances and transfer of reduced levels

locating site hazards and services

measuring and recording ground levels at respective critical set-out points

measuring and recording heights or levels for installing building components

measuring and recording heights or levels of ceilings and floors

measuring and recording slab or pad levels for placement of steel columns or masonry piers

taking levels for concrete slabs

taking levels for excavation or footings

calculating rise and fall and height from collimation

types of tools and equipment used for carrying out levelling operations:

spirit levels

straight edge

automatic/optical levelling devices

laser levels

water level

processes for checking operation and tolerances:

two peg test for automatic level

reverse readings for spirit level

types of level readings:

negative readings

datum

backsight

foresight

intermediate sight

plumb

maintenance of levelling devices:

authorised operator servicing and minor replacements

cleaning

monitoring, recording and reporting faults.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad