# Assessment Requirements for CPCCON2021 Handle concreting materials and components

Release: 2

Assessment Requirements for CPCCON2021 Handle concreting materials and components

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0 Supersedes and is equivalent to CPCCCO2021 Handle concreting materials. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by handling concreting materials and components in preparation for concreting tasks at three different placement sites.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of legislation and regulations relevant to concreting material and component handling tasks:

environmental protection and waste disposal

work health and safety (WHS):

hazard identification and risk control

personal protective equipment (PPE)

safe manual handling techniques

safety data sheets (SDS) and hazardous materials handling

safety manuals and instructions for tools and equipment used to handle materials and components

safe work method statements

signage and barricades

health risks associated with silica dust exposure

tools and equipment used when handling concreting materials and components

types and purpose of components used in concreting:

bar chairs

bar steel

bracing

decking

key joints

plastic membrane

push-pull props

reinforcement bars

reinforcement mesh

spacers

steel and timber formwork

support props

waffle pods

types and purpose of materials used in concreting:

additives

aggregates

cement

curing compounds

form release agents

general non-toxic concreting materials

oxides

sand

water

workplace requirements for handling concreting materials and components:

cleaning up the work area

maintaining and storing tools, equipment, materials and components

reporting problems

safety requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, instructions, concreting materials and components, tools and equipment required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad