# Assessment Requirements for CPCCON3051 Conduct off-form vertical concrete operations

Release: 2

Assessment Requirements for CPCCON3051 Conduct off-form vertical concrete operations

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCCO3051 Conduct off-form vertical concrete operations. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by conducting two different off-form vertical concrete operations.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of legislation, regulations and Australian Standards relevant to off-form vertical concrete operations

environmental protection and waste disposal

material specifications and tolerances

work health and safety (WHS)

health risks associated with silica dust exposure

processes for conducting off-form vertical concrete operations in conjunction with other personnel involved in the slip-form or jump-form process:

carpenters

electricians

other concreters

riggers

steel fixers

processes for placing, finishing and curing concrete including approved compaction methods

types, characteristics, uses and limitations of plant, tools, equipment and materials required for off-form vertical concrete operations

types, purpose and application of release agents used in vertical concrete operations

typical uses of slip-form and jump-form formwork in vertical concrete operations

workplace requirements for conducting off-form vertical concrete operations:

cleaning up the work area

maintaining and storing materials, plant, tools and equipment

quality

reporting problems

safety requirements including personal protective equipment (PPE).

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, drawings, specifications, work sites, materials, tools and equipment required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad