# Assessment Requirements for CPCCON3052 Conduct concrete boom delivery operations

Release: 2

Assessment Requirements for CPCCON3052 Conduct concrete boom delivery operations

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCCO3052 Conduct concrete boom delivery operations |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the elements and performance criteria by conducting concrete boom delivery operations at two different sites.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

workplace and regulatory requirements for conducting concrete boom delivery operations under applicable Commonwealth, state or territory work health and safety (WHS) legislation, Australian Standards and codes of practice:

job safety and environmental analyses (JSEAs)

safe work method statements (SWMSs)

safety data sheets (SDSs)

safety manuals and instructions for plant, tools and equipment

signage

environmental and work site safety plans

workplace and equipment safety requirements, including hazard reporting requirements and correct handling of equipment faults

reporting problems

plans and specifications used to interpret requirements for conducting concrete boom delivery operations

characteristics, technical capabilities and limitations of concrete boom delivery vehicle systems:

adaptors

boom components

hoses

boom-mounted conveyors

lines

concrete boom delivery vehicle systems processes:

operational, maintenance and basic diagnostic procedures and use of hand tools

pumps and pumping system operations

safe operating techniques in all terrain

boom and line establishment techniques and operation of delivery system

construction activity sequences relating to bulk concreting operations

concrete mixes:

block-fill

pool-mix

topping

slab

footing

curb and guttering

site and equipment safety requirements:

knowing when and how to activate emergency shut-down procedures

overhead safety requirements relating to boom operations

site isolation and traffic control responsibilities and authorities

requirements for shut down, inspection, minor maintenance and repairs, and regular scheduled maintenance in accordance with manufacturer requirements

requirements for cleaning up the work area, vehicle, plant, tools and equipment, and materials storage and environmentally friendly waste management.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

industry-standard equipment required to perform the tasks specified in performance evidence

appropriate workplace information and records, including policies, procedures and legislative requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad