# CPCCPA3001 Prepare subgrade, base and bedding course for segmental paving

Release: 2

CPCCPA3001 Prepare subgrade, base and bedding course for segmental paving

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPA3001A Prepare subgrade, base and bedding course for segmental paving. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to use various materials to prepare subgrade, base and bedding courses in preparation for laying segmental paving. It includes identifying soil types, determining levels and grades, calculating material and screeding and compacting base materials.

This unit applies to those who pave external areas on new and existing sites. It is suitable for people operating with some autonomy. A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without needing close supervision.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry

# Unit Sector

Bricklaying and Blocklaying

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Select, fit correctly and use personal protective equipment (PPE) appropriate for job. |
|  |  | 1.2 | Read and interpret subgrade, base and bedding material requirements from current plans, specifications, standards and codes. |
|  |  | 1.3 | Follow relevant information from workplace procedures, workplace safety and environmental documentation. |
|  |  | 1.4 | Identify type and class of soil using soil charts and determine its properties. |
|  |  | 1.5 | Determine subgrade requirements from penetration test results. |
|  |  | 1.6 | Calculate material quantities using measurements and formulas. |
|  |  | 1.7 | Determine job priorities and sequence job tasks in consultation with others on site. |
|  |  | 1.8 | Identify underground services and potential hazards and determine and implement control measures. |
| 2 | Prepare for work. | 2.1 | Select and check condition of equipment and tools and report any damage or faults to relevant person. |
|  |  | 2.2 | Check conformity of materials against the specifications and place materials in preparation for the work. |
|  |  | 2.3 | Identify drainage needs and apply remedial action. |
|  |  | 2.4 | Identify termite barriers and damp-proof courses and ensure integrity is maintained and not compromised during paving construction. |
| 3 | Excavate the site and install base course. | 3.1 | Set out finish height of pavers, grades and excavation depth according to plan and specifications. |
|  |  | 3.2 | Calculate the bulking factor for different soil types. |
|  |  | 3.3 | Remove top soil, weeds and their roots. |
|  |  | 3.4 | Excavate site to required depth and remove spoil using appropriate equipment. |
|  |  | 3.5 | Distribute and compact base material. |
| 4 | Install bedding course material. | 4.1 | Install geotextile material as a drainage or a separation layer. |
|  |  | 4.2 | Stabilise bedding course for area with slopes of greater than 1:15 and install transverse concrete supports for driveways with a sloping pavement of greater than 5 metres. |
|  |  | 4.3 | Distribute and compact bedding material. |
| 5 | Screed base material. | 5.1 | Screed bedding material to set out heights. |
|  |  | 5.2 | Remove excess material. |
| 6 | Clean up. | 6.1 | Clear the work area, and dispose of, reuse or recycle materials following workplace and environmental requirements. |
|  |  | 6.2 | Clean tools and equipment, check for serviceability and report damage or faults. |
|  |  | 6.3 | Store and secure tools and equipment following workplace procedures. |

# Foundation Skills

Candidates require:

technology skills to:

use digital tools and devices to source job information and communicate effectively with others.

# Unit Mapping Information

Supersedes and is equivalent to CPCCPA3001A Prepare subgrade, base and bedding course for segmental paving

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCPA3001 Prepare subgrade, base and bedding course for segmental paving

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPA3001A Prepare subgrade, base and bedding course for segmental paving. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by preparing an area of a minimum of 2.0 m x 3.0 m for segmental paving.

In doing this, the candidate must:

excavate the area to be paved using manual and mechanical means

install suitable surface and subsoil drainage

compact subgrade, based and bedding courses to required compaction specifications

screed bedding material flat and avoid any ponding.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of approved paving materials:

various bedding materials

types of segmental pavers

waterproofing materials

geotextile materials

mortar ingredients and consistency

soil types

processes and techniques relating to paving:

manual and mechanical excavation

compacting subgrades, bases and bedding courses

stabilising bedding sand

laying of various paving patterns

terminology relating to paving

principles of California bearing ratio (CBR)

brick and paver expansion, and control and articulation joints

functional and operational features of plant, equipment and hand and power tools:

skid steer loader

backhoe

excavator

plate compactors

workplace safety:

job safety and environmental analysis (JSEA)

hazardous manual tasks

overhead and underground hazards

operating excavation and compacting equipment

exposure to silica

exposure to loud noise

features of working drawings and specifications

environmental requirements for workplace processes and waste disposal

specifications relating to preparing subgrades, bases and bedding for paving.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad