# Assessment Requirements for CPCCPA3002 Lay segmental paving

Release: 2

Assessment Requirements for CPCCPA3002 Lay segmental paving

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPA3002A Lay segmental pavers. Minor title change. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by laying segmental paving, to a specified design, to an area of a minimum of 2.0 m x 3.0 m.

In doing this, the candidate must:

lay specified pavers to a flat surface avoiding ponding

maintain equal joints and spacing to allowable tolerances stated in manufacturer’s specifications.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of approved paving materials:

various bedding materials

types of segmental pavers

waterproofing materials

geotextile materials

mortar ingredients and consistency

processes and techniques relating to paving:

stabilising bedding sand

laying of various paving designs and patterns

efficient laying practices:

with consideration of direction of fall or slope of job

good access to materials

minimising cuts

working around existing structures and penetrations

construction terminology relating to paving

brick and paver expansion and, control and articulation joints

functional and operational features of plant, equipment and hand and power tools

workplace safety requirements:

job safety and environmental analysis (JSEA)

hazardous manual tasks

electrical hazards

exposure to silica

exposure to loud noise

current and relevant Australian standards and building codes

features of working drawings and specification

environmental requirements for workplace processes and waste disposal

manufacturer’s specifications relating to paving products.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad