# CPCCPA3002 Lay segmental paving

Release: 2

CPCCPA3002 Lay segmental paving

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPA3002A Lay segmental pavers. Minor title change. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to lay segmental pavers on prepared subgrade and base. It applies to people who set out and lay a range of segmental pavers to external areas of new and existing sites.

This unit is suitable for people operating with some autonomy. A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without needing close supervision.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry

# Unit Sector

Bricklaying and Blocklaying

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Select, fit correctly and use personal protective equipment (PPE) appropriate for job. |
|  |  | 1.2 | Read, interpret and apply laying segmental paving requirements from current plans, specifications, standards and codes. |
|  |  | 1.3 | Follow requirements in workplace safety and environmental documentation and workplace procedures relevant to work activity. |
|  |  | 1.4 | Use measurements and apply formulas to calculate material quantities. |
|  |  | 1.5 | Determine job priorities and sequence job tasks in consultation with others on site. |
| 2 | Prepare for work. | 2.1 | Select and check condition of equipment and tools and report any damage or faults to relevant person. |
|  |  | 2.2 | Check conformity of materials and pavers for fit for purpose, size, dimension, colour and imperfections. |
|  |  | 2.3 | Stack rejected pavers aside to use for cuts. |
|  |  | 2.4 | Stack pavers in preparation for the work. |
| 3 | Lay pavers. | 3.1 | Set out stringline grid squares to establish guide levels and lines. |
|  |  | 3.2 | Lay pavers to design pattern with localised stresses between adjacent pavers reduced. |
|  |  | 3.3 | Check, adjust and maintain allowable tolerances during laying of pavers. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials following workplace and environmental requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report damage or faults. |
|  |  | 4.3 | Store and secure tools and equipment following workplace procedures. |

# Foundation Skills

Candidates require:

technology skills to:

use digital tools and devices to source job information and communicate effectively with others.

# Unit Mapping Information

Supersedes and is equivalent to CPCCPA3002A Lay segmental pavers

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCPA3002 Lay segmental paving

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPA3002A Lay segmental pavers. Minor title change. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by laying segmental paving, to a specified design, to an area of a minimum of 2.0 m x 3.0 m.

In doing this, the candidate must:

lay specified pavers to a flat surface avoiding ponding

maintain equal joints and spacing to allowable tolerances stated in manufacturer’s specifications.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of approved paving materials:

various bedding materials

types of segmental pavers

waterproofing materials

geotextile materials

mortar ingredients and consistency

processes and techniques relating to paving:

stabilising bedding sand

laying of various paving designs and patterns

efficient laying practices:

with consideration of direction of fall or slope of job

good access to materials

minimising cuts

working around existing structures and penetrations

construction terminology relating to paving

brick and paver expansion and, control and articulation joints

functional and operational features of plant, equipment and hand and power tools

workplace safety requirements:

job safety and environmental analysis (JSEA)

hazardous manual tasks

electrical hazards

exposure to silica

exposure to loud noise

current and relevant Australian standards and building codes

features of working drawings and specification

environmental requirements for workplace processes and waste disposal

manufacturer’s specifications relating to paving products.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad