# Assessment Requirements for CPCCPB3007 Apply levels of finish standards to planning and inspection of own work

Release: 2

Assessment Requirements for CPCCPB3007 Apply levels of finish standards to planning and inspection of own work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3007A Apply levels of finish standards to planning and inspection of own work. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by planning, inspecting and reporting on application of level 3, 4 and 5 finishes to a minimum of 15 square metres of own work.

All work must be performed to the standard required in the workplace and must comply with Commonwealth and state/territory laws and regulations, the National Construction Code, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the National Construction Code and Australian Standards for applying levels of finish standards to planning and inspection of work

quality policies and standards for applying levels of finish standards to planning and inspection of work

safety requirements for applying levels of finish standards to planning and inspection of work

features and applications of each level of finish

manufacturers’ product installation procedures and nominated specifications for the work process to produce level 3, 4 and 5 finishes

effect of quality of work of other trades on plastering finishes

methods of rectification of problems finishes

faults in building structure, materials quality and finished joints and edges that will influence finish

documentation of finishes and their application.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad