# CPCCPB3007 Apply levels of finish standards to planning and inspection of own work

Release: 2

CPCCPB3007 Apply levels of finish standards to planning and inspection of own work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3007A Apply levels of finish standards to planning and inspection of own work. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to identify the level of finish standards and their application to the planning and inspection of own work.

A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without close supervision.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry.

# Unit Sector

Plasterboard

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for task. | 1.1 | Plan all work to comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements. |
|  |  | 1.2 | Select and use personal protective equipment (PPE) for each stage of the task. |
| 2 | Plan to achieve required levels of finish. | 2.1 | Assess workplace documents and specifications to establish and describe required levels of finish and related process requirements. |
|  |  | 2.2 | Plan use of materials and work processes to meet required level of finish. |
| 3 | Inspect completed work for level of finish. | 3.1 | Assess distinguishing features of levels of finish in the completed work against finish requirements. |
|  |  | 3.2 | Describe effects of framing tolerances, windows, light fittings and location of joints on finish of plasterboard. |
|  |  | 3.3 | Inspect build-up on joints for effect on level of finish. |
|  |  | 3.4 | Describe and assess classification level of finish of inspected work, identify problems to level of finish and select method of rectification. |
|  |  | 3.5 | Determine and describe requirements for painting of finished surface |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCPB3007A Apply levels of finish standards to planning and inspection of own work

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad