# Assessment Requirements for CPCCPB3009 Finish plasterboard joints manually

Release: 2

Assessment Requirements for CPCCPB3009 Finish plasterboard joints manually

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3009A Finish plasterboard joints manually. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by manually finishing plasterboard joints, including a minimum:

two vertical joints between standard-size plasterboard sheets

two horizontal joints between standard-size plasterboard sheets

two vertical corner joints between standard-size plasterboard sheets

two internal corner joints between standard-size plasterboard wall sheets and ceiling sheets

two external corner joints between standard-size plasterboard wall sheets and ceiling sheets

a minimum 300mm x 300mm niche.

All work must be performed to the standard required in the workplace and must comply with Commonwealth and state/territory laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of Australian Standards for finishing plasterboard joints manually

quality policies and standards for finishing plasterboard joints manually

safety requirements for finishing plasterboard joints manually, including personal protective equipment (PPE), job safety analyses, safe work method statements and safety data sheets

environmental requirements for finishing plasterboard joints manually

types and uses of materials for finishing plasterboard joints manually

finishing techniques, including:

processes for finishing system joints

quality checks for joint finishing

work sequence

manufacturers’ product specifications for finishing plasterboard joints manually

processes for the calculation of material requirements for finishing plasterboard joints manually

types of tools and equipment for finishing plasterboard joints manually.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad